MINE SITE FUEL & ENERGY MANAGEMENT

Created by ChecklistGuro (https://checklistguro.com)

[ ] Get Fuel Inventory Levels: Retrieve current fuel volumes from the Fuel Storage Data Model.
[ ] Get Equipment Fuel Consumption Logs: Retrieve recent consumption entries from the Fleet Usage Data Model.
[ ] Calculate Total Daily Fuel Usage: Sum the total liters consumed across all equipment entries for the current 24-hour period.
[ ] Calculate Burn Rate Percentage: Calculate the percentage of total capacity used by comparing current usage against total tank capacity.
[ ] Estimate Days of Autonomy: Divide remaining fuel volume by the average daily burn rate to predict when fuel will run out.
[ ] Update Fuel Tank Levels: Update the 'Current Volume' field in the Fuel Storage Data Model after a delivery or usage period.
[ ] Create Fuel Reorder Request: Generate a new entry in the Procurement Data Model when levels hit a critical threshold.
[ ] Assign Fuel Inspection Task: Create a task for the Site Technician to perform a physical dipstick verification.
[ ] Assign Refuelling Task: Create a task for the Fuel Truck Driver to execute a scheduled refueling of heavy machinery.
[ ] Notify Logistics Manager: Send an email alert to the Logistics Manager when a fuel shortage is predicted.
[ ] Emergency Low Level Alert: Send an SMS to the Site Supervisor if fuel levels drop below the critical safety limit.
[ ] Generate Weekly Energy Efficiency Report: Create a summary report comparing planned fuel consumption vs. actual consumption.
[ ] Purge Old Sensor Logs: Delete telemetry data entries older than 90 days to maintain system performance.
[ ] Log Fuel Incident: Create a new entry in the Incident Data Model if a leak or spill is detected.

--- END OF TEMPLATE ---
Transform this text into a digital, automated, and trackable mobile app!
Visit: https://checklistguro.com/workflow-templates/mining-management/mine-site-fuel-energy-management
(Click "Install Template" to launch your digital inspection tool immediately)