MINING FIRE PREVENTION CHECKLIST

Created by ChecklistGuro (https://checklistguro.com)

--- FIRE HAZARD IDENTIFICATION ---
[ ] Description of Potential Ignition Sources
[ ] Location of Highest Fuel Load Area
[ ] Estimated Fuel Load (kg/m³)
[ ] Type of Fuel Present (Coal, Wood, Rubber, Other (Specify))
[ ] Notes/Observations Regarding Fire Hazards
[ ] Photo Evidence of Hazard (Optional)

--- ELECTRICAL EQUIPMENT INSPECTION ---
[ ] Equipment Voltage (V)
[ ] Cable Insulation Condition (Good, Fair, Damaged, Unsafe)
[ ] Connector Condition (Secure, Loose, Corroded, Damaged)
[ ] Motor Amp Draw (A)
[ ] Notes/Observations
[ ] Last Inspection Date
[ ] Photo of Defect (if any)

--- WELDING & CUTTING OPERATIONS ---
[ ] Permit Issue Date
[ ] Start Time of Operation
[ ] Permit Type (Hot Work Permit, Cold Work Permit)
[ ] Wind Speed (m/s)
[ ] Ambient Temperature (°C)
[ ] Required Precautions (Fire Watch Required, Ventilation Assessment, Gas Monitoring, Shielding & Barriers, Fire Suppression Equipment)
[ ] Welder Signature
[ ] Supervisor Authorization

--- VENTILATION SYSTEM PERFORMANCE ---
[ ] Airflow Rate (m³/s)
[ ] Static Pressure (Pa)
[ ] Temperature (Ventilation Air, °C)
[ ] Fan Operating Status (Normal, Reduced, Faulted)
[ ] Observations/Comments (e.g., unusual noises, smells)
[ ] Last Ventilation Duct Cleaning Date
[ ] Smoke Detector Functionality Check (Passed, Failed, N/A)

--- FIRE SUPPRESSION EQUIPMENT ---
[ ] Fire Extinguisher ABC Count
[ ] Fire Extinguisher CO2 Count
[ ] Last Inspection Date (Extinguishers)
[ ] Inspection Time
[ ] Sprinkler System Status (Operational, Needs Maintenance, Out of Service)
[ ] Fire Hose Condition (Good, Damaged, Needs Replacement)
[ ] Sprinkler System Test Record (if applicable)
[ ] Notes on Fire Suppression Equipment Condition

--- FLAMMABLE MATERIAL STORAGE ---
[ ] Flammable Material Storage Area GPS Coordinates
[ ] Maximum Allowable Quantity of Flammable Liquid (liters)
[ ] Storage Container Type (Approved Safety Cabinets, Double-Walled Tanks, Other (Specify))
[ ] Description of Storage Area Construction & Features (e.g., ventilation, secondary containment)
[ ] Date of Last Inspection of Storage Area
[ ] Secondary Containment Present? (Yes, No)
[ ] Photo of Storage Area (showing labeling and condition)

--- HOUSEKEEPING PRACTICES ---
[ ] Accumulated Dust Thickness (mm)
[ ] Waste Material Disposal Compliance (Compliant, Minor Deviation, Significant Deviation)
[ ] Notes on Excessive Debris or Clutter
[ ] Spill Prevention Measures (Fully Implemented, Partially Implemented, Not Implemented)
[ ] Photos of Housekeeping Areas (before/after)
[ ] Number of blocked access points due to debris

--- EMPLOYEE TRAINING & AWARENESS ---
[ ] Last Fire Safety Training Date (Within last 6 months, 6-12 months ago, Over 12 months ago, Not Completed)
[ ] Briefly describe key fire prevention topics covered in training
[ ] Do you understand the location of fire extinguishers and emergency exits? (Yes, No, Unsure)
[ ] Which of the following fire hazards are you aware of? (Electrical Faults, Flammable Liquids, Dust Accumulation, Welding/Cutting Operations, Housekeeping Issues)
[ ] Date of next scheduled fire safety refresher training

--- EMERGENCY RESPONSE PLAN REVIEW ---
[ ] Last Review Date
[ ] Summary of Changes Made
[ ] Sections Updated (Select all that apply) (Fire Emergency Procedures, Evacuation Routes, Communication Protocols, Medical Response, Incident Reporting, Training Requirements)
[ ] Review Frequency (in months)
[ ] Review Outcome (Approved, Rejected, Requires Revisions)
[ ] Reviewer Signature

--- END OF TEMPLATE ---
Transform this text into a digital, automated, and trackable mobile app!
Visit: https://checklistguro.com/templates/mining-management/mining-fire-prevention-checklist
(Click "Install Template" to launch your digital inspection tool immediately)