MONTHLY FIRE SAFETY INSPECTION

Created by ChecklistGuro (https://checklistguro.com)

--- GENERAL VISUAL INSPECTION ---

[ ] Inspect all hallways and corridors for obstructions.

[ ] Are exit doors and pathways clear of debris and furniture? (Yes, No, N/A)

[ ] Check for excessive storage in stairwells (max. items/size)

[ ] Note any areas with unusual odors (e.g., smoke, chemicals).

[ ] Are fire doors functioning correctly (latching, unobstructed)? (Yes, No, N/A)

[ ] Describe any observed hazards or concerns.

[ ] Date of Last Fire Drill

--- FIRE ALARM SYSTEM ---

[ ] Alarm Panel Battery Voltage

[ ] Alarm Panel Tamper Switch Status (Normal, Tampered)

[ ] Panel Communication Status (Connected, Disconnected)

[ ] Last System Test Date

[ ] Time of System Test (if performed)

[ ] Notes on System Testing or Issues

[ ] Number of Troublesome Events in Month

--- FIRE EXTINGUISHERS ---

[ ] Extinguisher 1 - Monthly Inspection Date

[ ] Extinguisher 1 - Condition (Visible Damage?) (No Damage, Minor Damage - Documented, Significant Damage - Tag & Remove)

[ ] Extinguisher 1 - Pressure Gauge Reading (Within Green Zone, In Yellow Zone - Needs Adjustment, In Red Zone - Needs Service)

[ ] Extinguisher 1 - Pin Tamper Seal Intact (1=Yes, 0=No)

[ ] Extinguisher 1 - Notes/Observations

[ ] Extinguisher 2 - Monthly Inspection Date

[ ] Extinguisher 2 - Condition (Visible Damage?) (No Damage, Minor Damage - Documented, Significant Damage - Tag & Remove)

[ ] Extinguisher 3 - Monthly Inspection Date

--- EMERGENCY LIGHTING ---

[ ] Check all emergency lights that are functioning correctly. (Main Entrance, Stairwells, Dining Areas, Kitchen, Guest Rooms (Sample - Check a representative number), Hallways, Service Areas, Other (Specify in LONG_TEXT))

[ ] If 'Other' selected above, please specify which emergency lights were checked.

[ ] Duration of emergency light test (in minutes).

[ ] Result of emergency light test. (Passed, Failed, Needs Maintenance)

[ ] If 'Failed' or 'Needs Maintenance' was selected above, please describe the issue(s).

[ ] Date of Last Emergency Lighting Servicing

[ ] Time of Emergency Lighting Test Start

--- EXIT ROUTES & SIGNAGE ---

[ ] Check Exit Route 1 - Main Entrance to Dining Area

[ ] Check Exit Route 2 - Back of House to Loading Dock

[ ] Are Exit Routes Clear of Obstructions? (Yes, No, N/A)

[ ] Are Exit Doors Functional (Easy to Open, Unlocked)? (Yes, No, N/A)

[ ] Number of Illuminated 'Exit' Signs Present and Functional?

[ ] Are Exit Signage Illuminated? (Yes, No, N/A)

[ ] Any Issues Found (e.g., damaged signage, blocked path)?

[ ] Emergency Lighting Working on Exit Routes? (Yes, No, N/A)

--- SPRINKLER SYSTEM (IF APPLICABLE) ---

[ ] Sprinkler Head Coverage (estimated sq ft)

[ ] Visible Corrosion on Piping? (Yes, No, N/A)

[ ] Sprinkler Heads Obstructed? (Yes, No, N/A)

[ ] Details of any obstructions or corrosion found:

[ ] Flow Test Performed? (Yes, No, N/A)

[ ] Flow Test Pressure (PSI)

[ ] Date of Last Professional Inspection

[ ] Upload Inspection Photos (if applicable)

--- KITCHEN FIRE SUPPRESSION SYSTEM (IF APPLICABLE) ---

[ ] Hydrostatic Test Date (Last)

[ ] Next Hydrostatic Test Due Date

[ ] Nozzle Pressure (PSI)

[ ] Nozzle Condition (Clear and Unobstructed, Partially Obstructed, Blocked)

[ ] Manual Pull Test Performed? (Yes, No)

[ ] Notes/Observations (e.g., corrosion, leaks, damage)

[ ] System Status (Operational, Needs Service, Out of Service)

[ ] Photos of System (if issues)

--- ELECTRICAL SAFETY ---

[ ] Inspect Extension Cords - Number of Cords with Damage

[ ] Condition of Electrical Panels (Check for Access Obstructions) (Clear and Accessible, Minor Obstruction, Significant Obstruction - Requires Action)

[ ] Number of Outlets Showing Signs of Damage (cracks, loose connection)

[ ] Notes on any Unusual Electrical Odors or Sounds

[ ] GFCI Outlets Tested (kitchens, bathrooms) - Pass/Fail (Pass, Fail - Requires Repair)

[ ] Photographic Evidence of any Electrical Concerns

--- DOCUMENTATION & TRAINING ---

[ ] Last Fire Safety Training Date

[ ] Number of Employees Trained (this month)

[ ] Training Method (e.g., in-person, online) (In-Person, Online, Hybrid)

[ ] Summary of Training Content (briefly describe topics covered)

[ ] Upload Training Records/Attendance List

[ ] Fire Safety Manual Review - Date of Last Review (Within the last year, 1-2 Years, More than 2 Years)

[ ] Comments/Notes Regarding Documentation or Training Needs

--- END OF TEMPLATE ---

Transform this text into a digital, automated, and trackable mobile app!

Visit: https://checklistguro.com/templates/hospitality/monthly-fire-safety-inspection

(Click "Install Template" to launch your digital inspection tool immediately)