## 6a390e775a1e7cf130c0cae1
Label	Value	Notes

Created by ChecklistGuro (https://checklistguro.com)

General Visual Inspection (STEP)
Inspect all hallways and corridors for obstructions. (LOCATION)
Are exit doors and pathways clear of debris and furniture? (SELECTION options: Yes, No, N/A)
Check for excessive storage in stairwells (max. items/size) (NUMBER)
Note any areas with unusual odors (e.g., smoke, chemicals). (TEXT)
Are fire doors functioning correctly (latching, unobstructed)? (SELECTION options: Yes, No, N/A)
Describe any observed hazards or concerns. (TEXT)
Date of Last Fire Drill (DATE)

Fire Alarm System (STEP)
Alarm Panel Battery Voltage (NUMBER)
Alarm Panel Tamper Switch Status (SELECTION options: Normal, Tampered)
Panel Communication Status (SELECTION options: Connected, Disconnected)
Last System Test Date (DATE)
Time of System Test (if performed) (DATE)
Notes on System Testing or Issues (TEXT)
Number of Troublesome Events in Month (NUMBER)

Fire Extinguishers (STEP)
Extinguisher 1 - Monthly Inspection Date (NUMBER)
Extinguisher 1 - Condition (Visible Damage?) (SELECTION options: No Damage, Minor Damage - Documented, Significant Damage - Tag & Remove)
Extinguisher 1 - Pressure Gauge Reading (SELECTION options: Within Green Zone, In Yellow Zone - Needs Adjustment, In Red Zone - Needs Service)
Extinguisher 1 - Pin Tamper Seal Intact (1=Yes, 0=No) (NUMBER)
Extinguisher 1 - Notes/Observations (TEXT)
Extinguisher 2 - Monthly Inspection Date (NUMBER)
Extinguisher 2 - Condition (Visible Damage?) (SELECTION options: No Damage, Minor Damage - Documented, Significant Damage - Tag & Remove)
Extinguisher 3 - Monthly Inspection Date (NUMBER)

Emergency Lighting (STEP)
Check all emergency lights that are functioning correctly. (SELECTION options: Main Entrance, Stairwells, Dining Areas, Kitchen, Guest Rooms (Sample - Check a representative number), Hallways, Service Areas, Other (Specify in LONG_TEXT))
If 'Other' selected above, please specify which emergency lights were checked. (TEXT)
Duration of emergency light test (in minutes). (NUMBER)
Result of emergency light test. (SELECTION options: Passed, Failed, Needs Maintenance)
If 'Failed' or 'Needs Maintenance' was selected above, please describe the issue(s). (TEXT)
Date of Last Emergency Lighting Servicing (DATE)
Time of Emergency Lighting Test Start (DATE)

Exit Routes & Signage (STEP)
Check Exit Route 1 - Main Entrance to Dining Area (LOCATION)
Check Exit Route 2 - Back of House to Loading Dock (LOCATION)
Are Exit Routes Clear of Obstructions? (SELECTION options: Yes, No, N/A)
Are Exit Doors Functional (Easy to Open, Unlocked)? (SELECTION options: Yes, No, N/A)
Number of Illuminated 'Exit' Signs Present and Functional? (NUMBER)
Are Exit Signage Illuminated? (SELECTION options: Yes, No, N/A)
Any Issues Found (e.g., damaged signage, blocked path)? (TEXT)
Emergency Lighting Working on Exit Routes? (SELECTION options: Yes, No, N/A)

Sprinkler System (if applicable) (STEP)
Sprinkler Head Coverage (estimated sq ft) (NUMBER)
Visible Corrosion on Piping? (SELECTION options: Yes, No, N/A)
Sprinkler Heads Obstructed? (SELECTION options: Yes, No, N/A)
Details of any obstructions or corrosion found: (TEXT)
Flow Test Performed? (SELECTION options: Yes, No, N/A)
Flow Test Pressure (PSI) (NUMBER)
Date of Last Professional Inspection (DATE)
Upload Inspection Photos (if applicable) (UPLOAD)

Kitchen Fire Suppression System (if applicable) (STEP)
Hydrostatic Test Date (Last) (NUMBER)
Next Hydrostatic Test Due Date (DATE)
Nozzle Pressure (PSI) (NUMBER)
Nozzle Condition (SELECTION options: Clear and Unobstructed, Partially Obstructed, Blocked)
Manual Pull Test Performed? (SELECTION options: Yes, No)
Notes/Observations (e.g., corrosion, leaks, damage) (TEXT)
System Status (SELECTION options: Operational, Needs Service, Out of Service)
Photos of System (if issues) (UPLOAD)

Electrical Safety (STEP)
Inspect Extension Cords - Number of Cords with Damage (NUMBER)
Condition of Electrical Panels (Check for Access Obstructions) (SELECTION options: Clear and Accessible, Minor Obstruction, Significant Obstruction - Requires Action)
Number of Outlets Showing Signs of Damage (cracks, loose connection) (NUMBER)
Notes on any Unusual Electrical Odors or Sounds (TEXT)
GFCI Outlets Tested (kitchens, bathrooms) - Pass/Fail (SELECTION options: Pass, Fail - Requires Repair)
Photographic Evidence of any Electrical Concerns (UPLOAD)

Documentation & Training (STEP)
Last Fire Safety Training Date (DATE)
Number of Employees Trained (this month) (NUMBER)
Training Method (e.g., in-person, online) (SELECTION options: In-Person, Online, Hybrid)
Summary of Training Content (briefly describe topics covered) (TEXT)
Upload Training Records/Attendance List (UPLOAD)
Fire Safety Manual Review - Date of Last Review (SELECTION options: Within the last year, 1-2 Years, More than 2 Years)
Comments/Notes Regarding Documentation or Training Needs (TEXT)