OIL AND GAS PIPELINE INSPECTION CHECKLIST TEMPLATE

Created by ChecklistGuro (https://checklistguro.com)

--- PRE-INSPECTION PLANNING ---

[ ] Scheduled Inspection Date

[ ] Scheduled Inspection Start Time

[ ] Pipeline Segment Number/ID

[ ] Inspection Start Location (GPS Coordinates)

[ ] Ambient Temperature (°C)

[ ] Weather Conditions (Sunny, Cloudy, Rainy, Snowy, Foggy)

[ ] Review Relevant Maps/Diagrams (Upload)

--- RIGHT-OF-WAY & EXTERNAL CONDITIONS ---

[ ] Weather Conditions (Temperature °C)

[ ] Vegetation Condition (Excellent, Good, Fair, Poor)

[ ] Description of Vegetation Type

[ ] Potential Encroachments Observed? (Structures, Fences, Agriculture, None)

[ ] Location of Encroachment (if any)

[ ] Signage Condition

[ ] Date of last Right-of-Way clearing

[ ] Photos of Right-of-Way

--- PIPELINE PHYSICAL CONDITION ---

[ ] Pipeline Diameter (inches)

[ ] Pipeline Material (Carbon Steel, Stainless Steel, Composite, Other)

[ ] Corrosion Observed? (Yes, No, Unsure)

[ ] Description of any Corrosion (Location, Type, Severity)

[ ] Length of any cracks or seam failures (feet)

[ ] Photos of Physical Damage/Corrosion

[ ] Presence of Discoloration? (Yes, No, Unsure)

[ ] Description of Discoloration (Color, Location)

--- PIPELINE INTEGRITY COMPONENTS ---

[ ] Valve Operating Pressure (PSI)

[ ] Valve Condition (Excellent, Good, Fair, Poor)

[ ] Valve Comments/Observations

[ ] Pig Trap Depth (Feet)

[ ] Pig Trap Accessibility (Excellent, Good, Fair, Poor)

[ ] Pig Trap Photo (if applicable)

[ ] Last Pigging Date

[ ] Component Anomalies Observed (Check all that apply) (Corrosion, Damage, Erosion, Leaks, Other)

--- CATHODIC PROTECTION (CP) MONITORING ---

[ ] Near-Pipeline Potential (Volts)

[ ] Far-Pipeline Potential (Volts)

[ ] CP Current Output (Amps)

[ ] Rectifier Voltage (Volts)

[ ] Rectifier Status (Operating, Faulted, Standby)

[ ] Last Rectifier Maintenance Date

[ ] Notes on CP System Performance

[ ] Anode Condition (Good, Fair, Poor)

--- LEAK DETECTION SYSTEM (LDS) ASSESSMENT ---

[ ] Ambient Temperature (°C)

[ ] Pipeline Pressure (PSI)

[ ] LDS Sensitivity Setting

[ ] LDS Operational Status (Operational, Standby, Faulted)

[ ] Description of any alarms or events

[ ] Detector Calibration Status (Within Tolerance, Out of Tolerance, N/A)

[ ] Last Calibration Date

--- EROSION CONTROL MEASURES ---

[ ] GPS Coordinates of Erosion Area (if applicable)

[ ] Depth of Rill/Gully (inches)

[ ] Erosion Control Methods Present (Riprap, Vegetation (grass, trees), Silt Fences, Terracing, None)

[ ] Condition of Vegetation (Excellent, Good, Fair, Poor)

[ ] Detailed Observations of Erosion Control Measures

[ ] Width of Silt Fence (feet)

[ ] Effectiveness of Measures (Highly Effective, Effective, Partially Effective, Not Effective)

--- DOCUMENTATION AND REPORTING ---

[ ] Inspection Temperature (°C)

[ ] Date of Inspection

[ ] Time of Inspection

[ ] Detailed Observations & Anomalies

[ ] Severity of Findings (Select all that apply) (Minor, Moderate, Major, Critical)

[ ] Overall Inspection Result (Satisfactory, Needs Repair, Unsafe - Immediate Action Required)

[ ] Supporting Photos/Videos

[ ] Inspector Name

[ ] Inspector Signature

--- END OF TEMPLATE ---

Transform this text into a digital, automated, and trackable mobile app!

Visit: https://checklistguro.com/templates/inspection-management/oil-and-gas-pipeline-inspection-checklist-template

(Click "Install Template" to launch your digital inspection tool immediately)