OPERATING ROOM READINESS CHECKLIST

Created by ChecklistGuro (https://checklistguro.com)

--- HVAC SYSTEM ---

[ ] Room Temperature (degrees Celsius)

[ ] Relative Humidity (%)

[ ] Air Changes per Hour (ACH)

[ ] Filter Status (Clean, Needs Replacement, Dirty)

[ ] Supply Air Pressure (Positive/Negative) (Positive, Negative, As Per Protocol)

[ ] Last Filter Replacement Date

[ ] Notes / Deviations from Standard

--- LIGHTING ---

[ ] Ambient Light Level (Lux)

[ ] Surgical Light Footcandle Level (at surgical field)

[ ] Surgical Light Focus Functionality (Working, Malfunctioning, Needs Repair)

[ ] Emergency Backup Lighting Status (Operational, Needs Testing, Out of Service)

[ ] Dimming Functionality - Satisfactory? (Yes, No)

[ ] Notes/Observations Regarding Lighting

--- ELECTRICAL SYSTEMS ---

[ ] Main Power Voltage (VAC)

[ ] Emergency Generator Voltage (VAC)

[ ] Main Power Voltage Stability (RMS deviation)

[ ] Automatic Transfer Switch (ATS) Status (Operational, Needs Maintenance, Failed)

[ ] Last ATS Test Date

[ ] Time of Last ATS Test

[ ] UPS (Uninterruptible Power Supply) Status (Operational, Needs Maintenance, Failed)

[ ] Notes on Electrical System Observations

--- MEDICAL GAS SYSTEMS ---

[ ] Oxygen Cylinder Pressure (PSI)

[ ] Nitrous Oxide Cylinder Pressure (PSI)

[ ] Medical Air System Pressure (PSI)

[ ] Vacuum System Pressure (inHg)

[ ] Gas Cylinder Valve Condition (Good, Leaking, Damaged, Needs Lubrication)

[ ] Gas Manifold Pressure Gauges (Reading within Range, Reading Outside Range, Damaged, Missing)

[ ] Last Medical Gas System Inspection Date

--- WATER SUPPLY & DRAINAGE ---

[ ] Hot Water Temperature (at OR sink)

[ ] Water Pressure (at OR sink - PSI)

[ ] Backflow Prevention Device Status (Operational, Needs Maintenance, Out of Service)

[ ] Sink Drain Functionality (Draining Properly, Slow Drain, Blocked Drain)

[ ] Eye Wash Station Functionality (Functional, Needs Maintenance, Out of Service)

[ ] Last Water Quality Test Date

[ ] Comments/Notes Regarding Water Systems

--- AIR QUALITY & VENTILATION ---

[ ] Positive/Negative Pressure Differential (Pa)

[ ] Air Changes per Hour (ACH)

[ ] HEPA Filter Status (All Filters) (OK - Within Expiration, Replace Soon (Within 3 Months), Replace Immediately)

[ ] Supply Air Temperature (Operating Room) (Within Range (20-24°C), Outside Range - Corrective Action Needed)

[ ] Air Quality Concerns Observed? (Dust, Odors, Visible Particulates, None Observed)

[ ] Last Ventilation System Maintenance

[ ] Comments/Observations Regarding Ventilation System

--- EMERGENCY POWER SYSTEMS ---

[ ] Generator Runtime Hours (Last Test)

[ ] Generator Voltage (During Test)

[ ] Transfer Switch Contact Resistance (Ohms)

[ ] Last Generator Test Start Time

[ ] Date of Last Generator Maintenance

[ ] Generator Load Test Passed? (Yes, No, N/A)

[ ] Any Notes or Observations During Testing?

[ ] ATS (Automatic Transfer Switch) Operation Verified? (Yes, No, N/A)

--- FIRE SAFETY ---

[ ] Last Fire Extinguisher Inspection Date

[ ] Fire Extinguisher Pressure (PSI)

[ ] Fire Suppression System Status (Functional, Needs Repair, Out of Service)

[ ] Smoke Detector Status (Operational, Needs Maintenance, Faulty)

[ ] Emergency Exit Lighting Status (Functional, Dim, Not Working)

[ ] Location of Fire Control Panel

[ ] Any Observations/Comments Regarding Fire Safety

--- CLEANLINESS AND INFECTION CONTROL ---

[ ] Surface ATP Readings (Average)

[ ] Visible Soil/Residue Present? (Yes, No, Unsure)

[ ] Describe Any Visible Soil/Residue (if applicable)

[ ] Waste Receptacle Liners Present? (Yes, No)

[ ] Spill Kit Readily Available? (Yes, No)

[ ] Photographic Evidence (if issues observed)

[ ] Last Deep Cleaning Date

--- EQUIPMENT INFRASTRUCTURE ---

[ ] Outlet Voltage (Volts)

[ ] Outlet Frequency (Hz)

[ ] Dedicated Circuit Amperage (Amps)

[ ] Data Port Functionality (Ethernet, Fiber) (Ethernet - Verified, Fiber - Verified, Ethernet - Not Tested, Fiber - Not Tested, Data Port Unavailable)

[ ] Compressed Air Line Pressure (if applicable) (Within Specified Range, Outside Specified Range, Not Applicable)

[ ] Notes/Observations Regarding Infrastructure

--- END OF TEMPLATE ---

Transform this text into a digital, automated, and trackable mobile app!

Visit: https://checklistguro.com/templates/facility-management/operating-room-readiness-checklist

(Click "Install Template" to launch your digital inspection tool immediately)