PARKING GARAGE SAFETY & LIGHTING INSPECTION CHECKLIST (DAILY)

Created by ChecklistGuro (https://checklistguro.com)

--- GENERAL SAFETY & SECURITY ---

[ ] Garage Gate Operation (Operating Normally, Malfunctioning - Needs Repair, Out of Service)

[ ] Security Camera Functionality (All Cameras Operational, Some Cameras Offline, All Cameras Offline)

[ ] Visible Security Personnel Count

[ ] Evidence of Vandalism or Damage (None, Minor Damage - Documented, Significant Damage - Report Required)

[ ] Security Incident Notes (if any)

[ ] Emergency Exit Doors Functional? (Yes - Unobstructed, No - Obstructed, No - Damaged)

[ ] Photos of Security Concerns

--- LIGHTING - GENERAL ---

[ ] Ambient Light Level (Foot-candles) - General Area

[ ] Overall Lighting Condition - General Area (Excellent - Bright and Even, Good - Minor Dimness, Fair - Noticeable Dimness, Poor - Significant Dimness)

[ ] Areas of Dimness/Shadows? (Near Entrances, Along Walls, Under Vehicles, Around Pillars, None Observed)

[ ] Notes on Lighting Issues (e.g., flickering, buzzing)

[ ] Emergency Lighting Functionality (brief test) (Functional, Not Functional - Requires Attention, Needs Further Testing)

--- LIGHTING - SPECIFIC AREAS ---

[ ] Lux Level at Entrance 1 (Foot Candles)

[ ] Lux Level at Entrance 2 (Foot Candles)

[ ] Stairwell 1 Lighting Condition (Adequate, Dim, Malfunctioning)

[ ] Ramp 1 Lighting Condition (Adequate, Dim, Malfunctioning)

[ ] Elevator/Service Area Lighting Condition (Adequate, Dim, Malfunctioning)

[ ] Areas with Potential Shadowing (Near Columns, Under Stairwells, Around Elevator, None)

[ ] Notes on Specific Lighting Issues

--- RAMPS & STAIRWELLS ---

[ ] Ramp Gradient (Slope) - Max 1:12

[ ] Stairwell Handrail Integrity (Secure & Stable, Loose/Damaged, Missing)

[ ] Stair Treads Condition (Good - No Slippage, Moderate Wear, Significant Wear/Damage)

[ ] Stairwell Width (Minimum 2.5m)

[ ] Ramp Surface Condition (Good - No Hazards, Minor Cracks/Discoloration, Significant Damage/Potholes)

[ ] Notes on Ramp/Stairwell Issues (if any)

[ ] Emergency Lighting in Stairwells (Working, Not Working, Unknown)

--- ENTRANCES & EXITS ---

[ ] Gate Operation - Entrance (Operating Normally, Malfunctioning, Blocked)

[ ] Gate Operation - Exit (Operating Normally, Malfunctioning, Blocked)

[ ] Entrance/Exit Door Status (Open/Closed)

[ ] Emergency Exit Accessibility (Clear & Accessible, Obstructed, Inoperable)

[ ] Emergency Exit Signage Condition

[ ] Security Camera Functionality at Entrances/Exits

[ ] Lighting at Entrances/Exits (Adequate, Dim/Insufficient, Out)

[ ] Location of any observed security concerns

--- PAVEMENT & MARKINGS ---

[ ] Identify areas of significant surface cracks or potholes.

[ ] Measure width of largest crack observed (inches).

[ ] Select pavement conditions observed: (Cracking (minor), Cracking (moderate), Cracking (severe), Potholes (minor), Potholes (moderate), Potholes (severe), Spalling, Rutting, None)

[ ] Condition of parking lines (overall): (Excellent - Clearly visible, Good - Mostly visible, Fair - Some fading/wear, Poor - Difficult to see)

[ ] Upload photos of pavement issues (required for 'Fair' or 'Poor' conditions)

[ ] Describe any oil or chemical stains observed. (If any)

--- EMERGENCY SYSTEMS ---

[ ] Fire Alarm System Test Result (0-100)

[ ] Emergency Call Boxes Functionality (Functional, Needs Repair, Out of Service)

[ ] Emergency Lighting Status (Operational, Needs Attention, Non-Functional)

[ ] Last Fire Extinguisher Inspection Date

[ ] Time of Emergency Drill (if conducted)

[ ] Notes Regarding Emergency System Issues

--- SIGNAGE & COMMUNICATION ---

[ ] Emergency Contact List Visible & Current? (Yes, No, N/A)

[ ] Fire Exit Signs Clear and Illuminated? (Yes, No, Partial Obscurity)

[ ] Directional Signage Accurate & Legible? (Yes, No, Needs Adjustment)

[ ] Notes on Signage/Communication Issues (if any)

[ ] PA System Functional (if applicable)? (Yes, No, N/A)

[ ] Time of Last PA System Test (if applicable)

[ ] Emergency Call Boxes Operational (if applicable)? (Yes, No, N/A)

--- END OF TEMPLATE ---

Transform this text into a digital, automated, and trackable mobile app!

Visit: https://checklistguro.com/templates/retail/parking-garage-safety-lighting-inspection-checklist-daily

(Click "Install Template" to launch your digital inspection tool immediately)