PHARMACEUTICAL FACILITY ENVIRONMENTAL MONITORING CHECKLIST 2026

Created by ChecklistGuro (https://checklistguro.com)

--- AIR QUALITY & PARTICULATE MONITORING ---

[ ] Sampling Date

[ ] Sampling Area/Room ID

[ ] Non-Viable Particle Count (0.5μm)

[ ] Non-Viable Particle Count (5.0μm)

[ ] Air Filter (HEPA) Integrity Status (Passed, Failed, Not Tested)

[ ] Sampling Methods Used (Active Air Sampling, Passive Air Sampling, Laser Particle Counter)

[ ] Observations & Anomalies

[ ] Performed By (Technician)

--- MICROBIOLOGICAL MONITORING ---

[ ] Sampling Date

[ ] Sampling Zone/Grade (Grade A, Grade B, Grade C, Grade D)

[ ] Sampling Method Used (Airborne (Active), Settle Plates, Surface Swab/Contact Plate, Personnel Glove Print)

[ ] CFU Count Observed

[ ] Compliance Status (Within Specification, Out of Specification (OOS), Alert Level Exceeded)

[ ] Microbiological Deviation Details

[ ] Microbiology Lab Certificate/Raw Data

[ ] Reviewer Authorization

--- TEMPERATURE & HUMIDITY CONTROL ---

[ ] Monitoring Date

[ ] Cleanroom/Storage Zone ID

[ ] Current Temperature (°C)

[ ] Current Relative Humidity (%)

[ ] Temperature Status (Within Specification, Out of Specification (OOS), Alert Limit Exceeded)

[ ] Deviation Notes & Observations

[ ] Verifier Signature

--- SURFACE & EQUIPMENT SANITIZATION ---

[ ] Sanitization Completion Date

[ ] Sanitization Agent Used (70% Isopropyl Alcohol (IPA), Hydrogen Peroxide, Chlorine-based Disinfectant, Phenolic Compound)

[ ] Surfaces Sanitized (Work Benches/Tabletops, Flooring/Walls, Equipment Outer Surfaces, Aseptic Tools/Instruments)

[ ] Contact Time (Minutes)

[ ] Cleaning Deviation Notes

[ ] Sanitization Log/Certificate Upload

[ ] Sanitization Performed By

--- PERSONNEL & GOWNING COMPLIANCE ---

[ ] Inspection Date

[ ] Cleanroom Grade Observed (Grade A, Grade B, Grade C, Grade D)

[ ] Gowning Integrity Checklist (No visible tears or punctures in gloves/sleeves, Mask and head cover fully covering hair and face, No exposed skin visible below gown line, Sterile gowning procedure followed correctly)

[ ] Number of Personnel Monitored

[ ] Gowning Deviations & Observations

[ ] Auditor Signature

--- PRESSURE DIFFERENTIAL & AIRFLOW PATTERNS ---

[ ] Inspection Date

[ ] Cleanroom Zone/Room ID

[ ] Measured Differential Pressure (Pa)

[ ] Pressure Gradient Status (Within Specification, Out of Specification (OOS))

[ ] Airflow Pattern Observations (Unidirectional Flow Maintained, Turbulence Detected, No Visible Airflow Disruption)

[ ] Deviation Description & Observations

[ ] Inspector Signature

--- EQUIPMENT & INSTRUMENT CALIBRATION ---

[ ] Last Calibration Date

[ ] Next Calibration Due Date

[ ] Instrument ID/Asset Number

[ ] Calibration Status (In Calibration, Out of Calibration, Calibration Expired, Maintenance Required)

[ ] Calibration Deviation (Error Margin)

[ ] Calibration Certificate Upload

[ ] Technician Verification

--- DATA INTEGRITY & DOCUMENTATION ---

[ ] Review Date

[ ] Data Integrity Compliance Status (Compliant, Non-Compliant, Observation Identified)

[ ] Checked Documentation Types (Electronic Audit Trails, Manual Logbooks, Temperature Charts, Cleaning Records)

[ ] Discrepancy & Deviation Notes

[ ] Supporting Evidence/Scan Upload

[ ] Reviewer Authorization

--- CORRECTIVE & PREVENTIVE ACTIONS (CAPA) TRACKING ---

[ ] Date of Environmental Excursion

[ ] Excursion Severity Level (Low (Alert Limit), High (Action Limit), Critical (Out of Specification))

[ ] Deviation Reference Number

[ ] Description of Environmental Deviation

[ ] Root Cause Analysis Summary

[ ] Corrective Actions Implemented (Re-sanitization of Area, Equipment Repair/Maintenance, Personnel Re-training, HVAC System Adjustment)

[ ] CAPA Completion Deadline

[ ] Quality Assurance Approval

--- END OF TEMPLATE ---

Transform this text into a digital, automated, and trackable mobile app!

Visit: https://checklistguro.com/templates/pharmaceutical/pharmaceutical-facility-environmental-monitoring-checklist-2026

(Click "Install Template" to launch your digital inspection tool immediately)