## Sheet1
Label | Value | Notes
Created by checklistguro.com
General Facility Condition (STEP)
Overall Condition Rating (1-5, 1=Poor, 5=Excellent) (NUMBER)
Describe any immediately noticeable safety hazards or concerns. (TEXT)
Are any of the following conditions present? (Check all that apply) (SELECTION options: Evidence of Water Damage, Unsecured Items/Debris, Poor Lighting, Unpleasant Odors, Signs of Pests/Infestation, None of the Above)
Is the facility generally clean and well-maintained? (SELECTION options: Yes, No, Partially)
Record Location of any significant observations (e.g., leaks, damage) (LOCATION)
Date of Last General Cleaning (DATE)
Notes on visible damage to walls, floors or ceilings (TEXT)
Structural Integrity (STEP)
Cracks in Concrete - Maximum Width (inches) (NUMBER)
Evidence of Water Intrusion? (SELECTION options: None, Minor Staining, Active Leak, Extensive Damage)
Location of any Visible Structural Damage (LOCATION)
Detailed Description of any Structural Concerns Observed (TEXT)
Deflection/Sag of Roof or Floor (inches) (NUMBER)
Condition of Exterior Walls (SELECTION options: Excellent, Good, Fair, Poor)
Last Structural Inspection Date (DATE)
Fire Safety Systems (STEP)
Last Fire Extinguisher Inspection Date (DATE)
Number of Fire Extinguishers Present (NUMBER)
Fire Alarm System Status (SELECTION options: Functional, Malfunctioning, Under Maintenance)
Sprinkler System Status (SELECTION options: Operational, Partially Operational, Non-Functional)
Number of Emergency Exit Lights Functional (NUMBER)
Location of Fire Control Panel (LOCATION)
Any Observed Fire Safety Issues (Describe) (TEXT)
Smoke Detectors Tested (SELECTION options: Yes, No, N/A)
Electrical Systems (STEP)
Voltage Level (V) (NUMBER)
Condition of Wiring (Visible) (SELECTION options: Excellent, Good, Fair, Poor)
Deficiencies Identified (Check all that apply) (SELECTION options: Exposed Wiring, Damaged Outlets/Switches, Overloaded Circuits, Missing/Damaged Grounding, None)
Number of Exposed Wires (NUMBER)
Last Electrical Panel Inspection Date (DATE)
Notes/Comments Regarding Electrical System (TEXT)
Mechanical Systems (STEP)
HVAC Filter Change Date (NUMBER)
HVAC System Pressure (PSI) (NUMBER)
Pump Noise Level (Describe) (SELECTION options: Normal, Slightly Elevated, Excessive)
Leaks Observed? (SELECTION options: Water, Refrigerant, Oil, None Observed)
Detailed Description of any Mechanical Issues Found (TEXT)
Last Preventative Maintenance Performed (HVAC) (DATE)
Condition of Belts (HVAC & Pumps) (SELECTION options: Good, Fair, Poor - Recommend Replacement)
Attach Image/Video of Mechanical System Concern (UPLOAD)
Accessibility & Egress (STEP)
Are emergency exit signs clearly visible and illuminated? (SELECTION options: Yes, No, N/A)
Are exit pathways free of obstructions? (SELECTION options: Yes, No, N/A)
Width of the narrowest accessible route (in inches) (NUMBER)
Are ramps compliant with slope requirements? (SELECTION options: Yes, No, N/A)
Describe any accessibility or egress issues observed. (TEXT)
Are accessible restrooms properly signed and functional? (SELECTION options: Yes, No, N/A)
Date of last accessible route inspection (DATE)
Hazardous Materials (STEP)
Identify types of hazardous materials present (check all that apply) (SELECTION options: Asbestos, Lead-Based Paint, Mercury, Chemicals (specify in LONG_TEXT), Radioactive Materials, Other (specify in LONG_TEXT))
If 'Chemicals' were selected, specify the types and quantities of chemicals present. (TEXT)
Quantity of Asbestos-Containing Material (ACM) present (in linear feet or square feet) (NUMBER)
Date of last hazardous materials survey or assessment. (DATE)
Describe any containment or control measures in place for hazardous materials. (TEXT)
Is there a current Hazardous Materials Management Plan? (SELECTION options: Yes, No, N/A)
Upload copy of Hazardous Materials Management Plan (if applicable). (UPLOAD)
Mark locations of major hazardous material storage areas on facility map. (LOCATION)
Describe any incidents or near misses involving hazardous materials in the past year. (TEXT)
Security & Access Control (STEP)
Are exterior doors equipped with functioning locks? (SELECTION options: Yes, No, N/A)
Which access control systems are in use? (SELECTION options: Keycard Access, PIN Code Access, Biometric Scan, Manual Key Access, None)
Are security cameras functioning correctly? (SELECTION options: Yes, No, Partial Functionality)
Number of unauthorized access attempts logged in the past month: (NUMBER)
Describe any security vulnerabilities observed: (TEXT)
Are visitor logs being maintained? (SELECTION options: Yes, No, N/A)
Location of Security Control Room (LOCATION)
Environmental Considerations (STEP)
Water Usage (monthly) (NUMBER)
Waste Volume (monthly, in cubic yards) (NUMBER)
Chemical Storage Practices (SELECTION options: Compliant with regulations, Minor deviations, Significant concerns)
Recycling Programs in Place? (SELECTION options: Paper, Plastic, Glass, Aluminum, Organic Waste)
Details of any spills or leaks reported this period (if applicable) (TEXT)
Date of last environmental compliance audit (DATE)
Compliance with local noise ordinances (SELECTION options: Compliant, Minor deviations, Significant concerns)
Documentation & Records (STEP)
Date of Last Safety Inspection (DATE)
Date of Last Fire Safety Inspection (DATE)
Number of Safety Inspection Reports Maintained (NUMBER)
Summary of Findings from Previous Inspection (TEXT)
Upload Copies of Relevant Safety Permits (UPLOAD)
Are inspection records readily accessible? (SELECTION options: Yes, No)
Which of the following records are kept on site? (SELECTION options: Fire Safety Plan, Electrical Inspection Reports, Hazardous Materials Inventory, Maintenance Logs, Emergency Contact List)
Name of Person Responsible for Maintaining Records (TEXT)
Signature of Person Reviewing Records (SIGNATURE)