PLUMBING PIPE PRESSURE TESTING CHECKLIST

Created by ChecklistGuro (https://checklistguro.com)

--- PRE-TEST PREPARATION ---

[ ] Test Date

[ ] Test Start Time

[ ] Pipe Diameter (inches)

[ ] Pipe Material (Copper, PVC, PEX, Galvanized Steel, Other)

[ ] Description of Plumbing System being Tested

[ ] Test Method (Hydrostatic, Pneumatic)

[ ] Test Pressure (PSI)

[ ] Isolation Details (Describe how the system is isolated)

[ ] Identify all fixtures isolated (Toilets, Sinks, Showers/Tubs, Dishwashers, Washing Machines)

--- TEST SETUP & VERIFICATION ---

[ ] Test Section Length (ft/m)

[ ] Test Fluid Used (Water, Air, Other (Specify))

[ ] Specify 'Other' Test Fluid (if applicable)

[ ] Gauge Reading (Initial)

[ ] Test Pressure (psi/kPa)

[ ] Location of Pressure Gauge(s)

[ ] Connections Verified? (All, Most, Some, Few)

[ ] Isolation Valves Confirmed Closed? (Yes, No)

[ ] Date of Setup Verification

[ ] Time of Setup Verification

--- PRESSURE APPLICATION & HOLD ---

[ ] Test Pressure (PSI/Bar)

[ ] Pressure Application Start Time

[ ] Pressure Increase Rate (PSI/Bar/Minute)

[ ] Time to Reach Test Pressure

[ ] Hold Pressure Duration (Minutes)

[ ] Pressure Reading After 5 Minutes of Hold (PSI/Bar)

[ ] Pressure Stability Observed? (Yes, No)

[ ] Observations During Pressure Hold

--- PRESSURE DROP MONITORING & EVALUATION ---

[ ] Initial Test Pressure (PSI)

[ ] Hold Pressure (PSI)

[ ] Hold Duration (Minutes)

[ ] Maximum Allowable Pressure Drop (PSI)

[ ] Time Pressure Drop Observed (If Applicable)

[ ] Pressure Drop During Hold (PSI)

[ ] Pressure Drop Assessment (Pass - Within Allowable Limit, Fail - Exceeds Allowable Limit)

[ ] Detailed Observations & Notes (Leaks, Noise, etc.)

[ ] Photo/Video Documentation (if applicable)

--- POST-TEST PROCEDURES & DOCUMENTATION ---

[ ] Post-Test Observations & Anomalies

[ ] Maximum Pressure Observed During Test (PSI/Bar)

[ ] Pressure Drop Result (Pass/Fail) (Pass, Fail)

[ ] Description of any Failures (if applicable)

[ ] Date of Test

[ ] Time Test Completed

[ ] Attach Pressure Gauge Calibration Certificate

[ ] Technician Signature

[ ] Corrective Actions Taken (If Fail) (Repair & Re-test, Further Investigation Required, Other (Specify in Long Text))

--- SAFETY & PERMITS ---

[ ] Permit Required? (Yes, No)

[ ] Permit Documentation (if required)

[ ] Permit Number (if applicable)

[ ] Brief Description of Safety Plan

[ ] PPE Required (Check all that apply) (Safety Glasses, Gloves, Hard Hat, Hearing Protection, Steel-Toed Boots, Other: (Specify in LONG_TEXT))

[ ] Specify 'Other' PPE (if selected)

[ ] Date of Permit Application (if applicable)

[ ] Time of Start of Pressure Testing

[ ] Name of Safety Observer (if applicable)

[ ] Safety Observer Signature (if applicable)

--- END OF TEMPLATE ---

Transform this text into a digital, automated, and trackable mobile app!

Visit: https://checklistguro.com/templates/construction/plumbing-pipe-pressure-testing-checklist

(Click "Install Template" to launch your digital inspection tool immediately)