PLUMBING PIPE PRESSURE TESTING CHECKLIST

Created by ChecklistGuro (https://checklistguro.com)

--- PRE-TEST PREPARATION ---
[ ] Test Date
[ ] Test Start Time
[ ] Pipe Diameter (inches)
[ ] Pipe Material (Copper, PVC, PEX, Galvanized Steel, Other)
[ ] Description of Plumbing System being Tested
[ ] Test Method (Hydrostatic, Pneumatic)
[ ] Test Pressure (PSI)
[ ] Isolation Details (Describe how the system is isolated)
[ ] Identify all fixtures isolated (Toilets, Sinks, Showers/Tubs, Dishwashers, Washing Machines)

--- TEST SETUP & VERIFICATION ---
[ ] Test Section Length (ft/m)
[ ] Test Fluid Used (Water, Air, Other (Specify))
[ ] Specify 'Other' Test Fluid (if applicable)
[ ] Gauge Reading (Initial)
[ ] Test Pressure (psi/kPa)
[ ] Location of Pressure Gauge(s)
[ ] Connections Verified? (All, Most, Some, Few)
[ ] Isolation Valves Confirmed Closed? (Yes, No)
[ ] Date of Setup Verification
[ ] Time of Setup Verification

--- PRESSURE APPLICATION & HOLD ---
[ ] Test Pressure (PSI/Bar)
[ ] Pressure Application Start Time
[ ] Pressure Increase Rate (PSI/Bar/Minute)
[ ] Time to Reach Test Pressure
[ ] Hold Pressure Duration (Minutes)
[ ] Pressure Reading After 5 Minutes of Hold (PSI/Bar)
[ ] Pressure Stability Observed? (Yes, No)
[ ] Observations During Pressure Hold

--- PRESSURE DROP MONITORING & EVALUATION ---
[ ] Initial Test Pressure (PSI)
[ ] Hold Pressure (PSI)
[ ] Hold Duration (Minutes)
[ ] Maximum Allowable Pressure Drop (PSI)
[ ] Time Pressure Drop Observed (If Applicable)
[ ] Pressure Drop During Hold (PSI)
[ ] Pressure Drop Assessment (Pass - Within Allowable Limit, Fail - Exceeds Allowable Limit)
[ ] Detailed Observations & Notes (Leaks, Noise, etc.)
[ ] Photo/Video Documentation (if applicable)

--- POST-TEST PROCEDURES & DOCUMENTATION ---
[ ] Post-Test Observations & Anomalies
[ ] Maximum Pressure Observed During Test (PSI/Bar)
[ ] Pressure Drop Result (Pass/Fail) (Pass, Fail)
[ ] Description of any Failures (if applicable)
[ ] Date of Test
[ ] Time Test Completed
[ ] Attach Pressure Gauge Calibration Certificate
[ ] Technician Signature
[ ] Corrective Actions Taken (If Fail) (Repair & Re-test, Further Investigation Required, Other (Specify in Long Text))

--- SAFETY & PERMITS ---
[ ] Permit Required? (Yes, No)
[ ] Permit Documentation (if required)
[ ] Permit Number (if applicable)
[ ] Brief Description of Safety Plan
[ ] PPE Required (Check all that apply) (Safety Glasses, Gloves, Hard Hat, Hearing Protection, Steel-Toed Boots, Other: (Specify in LONG_TEXT))
[ ] Specify 'Other' PPE (if selected)
[ ] Date of Permit Application (if applicable)
[ ] Time of Start of Pressure Testing
[ ] Name of Safety Observer (if applicable)
[ ] Safety Observer Signature (if applicable)

--- END OF TEMPLATE ---
Transform this text into a digital, automated, and trackable mobile app!
Visit: https://checklistguro.com/templates/construction/plumbing-pipe-pressure-testing-checklist
(Click "Install Template" to launch your digital inspection tool immediately)