POINT-OF-SALE (POS) SYSTEM POWER BACKUP CHECKLIST

Created by ChecklistGuro (https://checklistguro.com)

--- UPS (UNINTERRUPTIBLE POWER SUPPLY) ASSESSMENT ---

[ ] UPS Model Number

[ ] UPS Serial Number

[ ] UPS Capacity (VA/kVA)

[ ] UPS Location (Main POS Area, Secondary POS Area, Back Office, Other (Specify))

[ ] UPS Status (Visual Inspection) (OK, Warning - Minor Issues, Critical - Major Issues)

[ ] Detailed Notes on Visual Inspection (e.g., fan noise, display readings, damage)

[ ] Last Maintenance Date

[ ] Ambient Temperature (°C)

[ ] Bypass Mode Status (Normal Operation, Maintenance Bypass, Emergency Bypass)

--- BATTERY HEALTH & PERFORMANCE ---

[ ] UPS Battery Voltage (per battery)

[ ] UPS Battery Capacity (%)

[ ] UPS Output Power (Watts)

[ ] UPS Load (%)

[ ] Last Battery Replacement Date

[ ] Notes on Battery Performance (e.g., any warnings, unusual behavior)

[ ] Battery Condition (Excellent, Good, Fair, Poor)

[ ] Time of Last Battery Test

--- GENERATOR SYSTEM (IF APPLICABLE) ---

[ ] Generator Last Run Hours

[ ] Date of Last Generator Service

[ ] Fuel Level (Gallons/Liters)

[ ] Fuel Type (Diesel, Gasoline, Propane, Natural Gas)

[ ] Generator Operational Status (Operational, Needs Repair, Out of Service)

[ ] Notes/Observations during inspection

[ ] Generator Service Record (Last Service)

[ ] Generator Voltage Output (Volts)

--- POWER TRANSFER & SWITCHING ---

[ ] Transfer Time (ms)

[ ] Transfer Time (ms) - Generator (If Applicable)

[ ] Transfer Success (Success, Failure)

[ ] Transfer Failure Notes (If Applicable)

[ ] Last Transfer Test Date

[ ] Time of Transfer Test

[ ] Automatic/Manual Transfer (Automatic, Manual)

--- TESTING & DOCUMENTATION ---

[ ] Last Full System Test Date

[ ] Test Start Time (during last test)

[ ] Test Duration (minutes)

[ ] Test Results Summary (Detailed observations)

[ ] Test Outcome (Successful, Partial Success, Failure)

[ ] Test Report (PDF/Excel)

[ ] Corrective Actions Taken (if any)

[ ] Next Scheduled Test Date

[ ] Person Responsible for Testing

--- ENVIRONMENTAL CONSIDERATIONS ---

[ ] Ambient Temperature (UPS Room)

[ ] Relative Humidity (UPS Room)

[ ] Presence of Water/Moisture? (Yes, No)

[ ] Notes on Ventilation (Adequacy, Blockages)

[ ] Dust/Debris Accumulation? (Significant, Moderate, Minimal, None)

[ ] Photos of UPS/Generator Room Environment

[ ] Last Cleaning Date (UPS/Generator Room)

--- END OF TEMPLATE ---

Transform this text into a digital, automated, and trackable mobile app!

Visit: https://checklistguro.com/templates/facility-management/point-of-sale-pos-system-power-backup-checklist

(Click "Install Template" to launch your digital inspection tool immediately)