POINT-OF-SALE (POS) SYSTEM POWER BACKUP CHECKLIST

Created by ChecklistGuro (https://checklistguro.com)

--- UPS (UNINTERRUPTIBLE POWER SUPPLY) ASSESSMENT ---
[ ] UPS Model Number
[ ] UPS Serial Number
[ ] UPS Capacity (VA/kVA)
[ ] UPS Location (Main POS Area, Secondary POS Area, Back Office, Other (Specify))
[ ] UPS Status (Visual Inspection) (OK, Warning - Minor Issues, Critical - Major Issues)
[ ] Detailed Notes on Visual Inspection (e.g., fan noise, display readings, damage)
[ ] Last Maintenance Date
[ ] Ambient Temperature (Â°C)
[ ] Bypass Mode Status (Normal Operation, Maintenance Bypass, Emergency Bypass)

--- BATTERY HEALTH & PERFORMANCE ---
[ ] UPS Battery Voltage (per battery)
[ ] UPS Battery Capacity (%)
[ ] UPS Output Power (Watts)
[ ] UPS Load (%)
[ ] Last Battery Replacement Date
[ ] Notes on Battery Performance (e.g., any warnings, unusual behavior)
[ ] Battery Condition (Excellent, Good, Fair, Poor)
[ ] Time of Last Battery Test

--- GENERATOR SYSTEM (IF APPLICABLE) ---
[ ] Generator Last Run Hours
[ ] Date of Last Generator Service
[ ] Fuel Level (Gallons/Liters)
[ ] Fuel Type (Diesel, Gasoline, Propane, Natural Gas)
[ ] Generator Operational Status (Operational, Needs Repair, Out of Service)
[ ] Notes/Observations during inspection
[ ] Generator Service Record (Last Service)
[ ] Generator Voltage Output (Volts)

--- POWER TRANSFER & SWITCHING ---
[ ] Transfer Time (ms)
[ ] Transfer Time (ms) - Generator (If Applicable)
[ ] Transfer Success (Success, Failure)
[ ] Transfer Failure Notes (If Applicable)
[ ] Last Transfer Test Date
[ ] Time of Transfer Test
[ ] Automatic/Manual Transfer (Automatic, Manual)

--- TESTING & DOCUMENTATION ---
[ ] Last Full System Test Date
[ ] Test Start Time (during last test)
[ ] Test Duration (minutes)
[ ] Test Results Summary (Detailed observations)
[ ] Test Outcome (Successful, Partial Success, Failure)
[ ] Test Report (PDF/Excel)
[ ] Corrective Actions Taken (if any)
[ ] Next Scheduled Test Date
[ ] Person Responsible for Testing

--- ENVIRONMENTAL CONSIDERATIONS ---
[ ] Ambient Temperature (UPS Room)
[ ] Relative Humidity (UPS Room)
[ ] Presence of Water/Moisture? (Yes, No)
[ ] Notes on Ventilation (Adequacy, Blockages)
[ ] Dust/Debris Accumulation? (Significant, Moderate, Minimal, None)
[ ] Photos of UPS/Generator Room Environment
[ ] Last Cleaning Date (UPS/Generator Room)

--- END OF TEMPLATE ---
Transform this text into a digital, automated, and trackable mobile app!
Visit: https://checklistguro.com/templates/facility-management/point-of-sale-pos-system-power-backup-checklist
(Click "Install Template" to launch your digital inspection tool immediately)