POST-HARVEST COLD STORAGE TEMPERATURE AUDIT CHECKLIST 2026

Created by ChecklistGuro (https://checklistguro.com)

--- PRE-AUDIT FACILITY INSPECTION ---

[ ] Inspection Date

[ ] Storage Unit ID/Facility Name

[ ] Door Seal Integrity Status (Intact, Damaged - Requires Repair, Critically Compromised)

[ ] Visible Structural Defects Observed (Cracks in Wall Insulation, Gaps in Door Gaskets, Floor/Concrete Damage, Ceiling/Vent Leaks)

[ ] Detailed Observations of Facility Defects

[ ] Inspector Signature

--- TEMPERATURE AND HUMIDITY MONITORING ---

[ ] Audit Date

[ ] Current Storage Temperature (°C/°F)

[ ] Current Relative Humidity (%)

[ ] Temperature Stability Status (Stable, Fluctuating, Excursion Detected)

[ ] Temperature Fluctuation Observations

[ ] Sensor Calibration Certificate

[ ] Auditor Verification

--- REFRIGERATION UNIT AND HARDWARE CHECK ---

[ ] Compressor Operational Status (Fully Functional, Needs Repair, Critical Failure)

[ ] Evaporator Coil Temperature (°C)

[ ] Completed Inspection Tasks (Defrost Cycle Verified, Cooling Fans Operational, Refrigerant Levels Checked, Condenser Cleaning Performed)

[ ] Hardware Maintenance Observations

[ ] Maintenance Log Photo/Document

[ ] Technician Verification

--- INVENTORY AND PRODUCT PLACEMENT ---

[ ] Inspection Date

[ ] Batch/Lot Number

[ ] Current Stock Quantity

[ ] Storage Zone/Aisle Location (Zone A (High Humidity), Zone B (Deep Freeze), Zone C (Standard Refrigeration))

[ ] Airflow Obstruction Check (Stacks too high, Blocked vents, Improper spacing, Clear and unobstructed)

[ ] Discrepancies or Damage Observations

[ ] Inventory Auditor Signature

--- ALARM AND EMERGENCY ALERT SYSTEMS ---

[ ] Alarm System Status (Operational, Malfunctioning, Non-Functional)

[ ] Tested Alert Channels (SMS/Text Alert, Email Notification, Siren/Audible Alarm, Mobile App Push Notification)

[ ] Last Alarm System Test Date

[ ] Temperature Alert Threshold (°C/°F)

[ ] Discrepancies or Faults Identified During Testing

[ ] Auditor Verification Signature

--- SANITATION AND HYGIENE STANDARDS ---

[ ] Cleaning Schedule Adherence (Fully Compliant, Minor Deviations Noted, Non-Compliant - Immediate Action Required)

[ ] Sanitization Areas Inspected (Floors and Drains, Storage Racks and Shelving, Cooling Unit Coils, Loading Dock Areas, Cleaning Tools and Equipment)

[ ] Sanitation Disinfectant Type Used

[ ] Post-Cleaning Inspection Photos

[ ] Sanitation Deficiency Notes

[ ] Sanitation Supervisor Verification

--- DOCUMENTATION AND RECORD COMPLIANCE ---

[ ] Audit Date

[ ] Audit Auditor Name (Internal Manager, External Auditor, Quality Control Officer)

[ ] Compliance Documents Verified (Daily Temperature Logs, Maintenance Logs, Calibration Certificates, Sanitation Records, Incident/Excursion Reports)

[ ] Discrepancies or Deviations Noted

[ ] Upload Supporting Documentation/Photos

[ ] Auditor Verification Signature

--- END OF TEMPLATE ---

Transform this text into a digital, automated, and trackable mobile app!

Visit: https://checklistguro.com/templates/farm-management/post-harvest-cold-storage-temperature-audit-checklist-2026

(Click "Install Template" to launch your digital inspection tool immediately)