POWER PLANT MAINTENANCE CHECKLIST TEMPLATE

Created by ChecklistGuro (https://checklistguro.com)

--- BOILER & STEAM SYSTEM ---

[ ] Last Boiler Inspection Date

[ ] Water Level (inches)

[ ] Steam Pressure (PSI)

[ ] Burner Flame Appearance (Normal, Sooty, Weak, Excessive Length)

[ ] Observations/Notes (e.g., unusual noises, leaks)

[ ] Blowdown Valve Operation (Operates Normally, Stuck Closed, Stuck Open)

[ ] Attach Boiler Inspection Report (if applicable)

[ ] Feedwater TDS (ppm)

--- TURBINE & GENERATOR ---

[ ] Turbine Speed (RPM)

[ ] Generator Voltage (kV)

[ ] Bearing Temperatures (°C)

[ ] Lubrication Condition (Excellent, Good, Fair, Poor)

[ ] Vibration Analysis Notes

[ ] Last Blade Inspection Date

[ ] Vibration Spectrum Graph

[ ] Abnormal Noises Observed? (Humming, Grinding, Clicking, None)

--- ELECTRICAL SYSTEMS ---

[ ] Transformer Voltage (kV)

[ ] Switchgear Temperature (°C)

[ ] Breaker Status (Open, Closed, Tripped)

[ ] Observations on Motor Condition

[ ] Last Inspection Date (Motor)

[ ] Potential Issues Observed (Overheating, Arcing, Loose Connections, Unusual Noise, None)

[ ] Infrared Image (if applicable)

--- FUEL HANDLING & STORAGE ---

[ ] Last Tank Level Inspection Date

[ ] Tank Level (feet)

[ ] Water Cut (%)

[ ] Tank Integrity (Visual Inspection) (Excellent, Good, Fair, Poor)

[ ] Potential Leaks/Corrosion Areas? (Seam Welds, Bottom, Roof, Piping Connections, None Observed)

[ ] Detailed Observations & Comments

[ ] Photos/Diagrams of Tank Condition

[ ] Time of Inspection

--- COOLING WATER SYSTEM ---

[ ] Cooling Tower Water Inlet Temperature (°C)

[ ] Cooling Tower Water Outlet Temperature (°C)

[ ] pH Level of Cooling Water

[ ] Total Dissolved Solids (TDS) (ppm)

[ ] Cooling Water Treatment Chemical Type (Scale Inhibitor, Biocide, Corrosion Inhibitor, Other)

[ ] Last Chemical Treatment Date

[ ] Observations/Comments (e.g., unusual discoloration, leaks)

[ ] Cooling Tower Fan Status (Operating Normally, Noisy, Vibrating, Malfunctioning)

--- HVAC SYSTEMS ---

[ ] Supply Air Temperature (°C)

[ ] Return Air Temperature (°C)

[ ] Static Pressure (Pa)

[ ] Filter Condition (Excellent, Good, Fair, Poor)

[ ] Last Filter Change Date

[ ] Observations & Notes

[ ] Refrigerant Leak Detection (No Leak Detected, Minor Leak - Repair Recommended, Major Leak - Immediate Repair Required)

--- INSTRUMENTATION & CONTROL ---

[ ] Pressure Transmitter Reading (PSI)

[ ] Flow Rate (GPM)

[ ] Temperature (Degrees Celsius)

[ ] Valve Position (Open/Closed) (Open, Closed)

[ ] Alarm Status (Normal/Alarm) (Normal, Alarm)

[ ] Control Loop Performance Notes

[ ] Last Calibration Date

[ ] Technician Signature

--- SAFETY EQUIPMENT ---

[ ] Fire Extinguisher Inspection - Quantity

[ ] Last Fire Extinguisher Service Date

[ ] Emergency Shutdown System Status (Functional, Needs Repair, Out of Service)

[ ] Alarm System Test Results (Passed, Failed, Not Tested)

[ ] Attach Alarm System Test Report (if applicable)

[ ] Number of Emergency Lighting Units Checked

[ ] Emergency Lighting Unit Condition (Functional, Needs Replacement, Not Working)

[ ] Inspector Signature

--- ENVIRONMENTAL COMPLIANCE ---

[ ] Last Emissions Monitoring Date

[ ] NOx Emissions (ppm)

[ ] SOx Emissions (ppm)

[ ] Water Discharge Flow Rate (m³/hr)

[ ] Water Treatment Chemical Usage (Within Limits, Exceeding Upper Limit, Exceeding Lower Limit)

[ ] Emissions Monitoring Report

[ ] Observations & Corrective Actions

[ ] Spill Prevention Plan Review (Reviewed and Updated, No Update Required)

--- GENERAL PLANT HOUSEKEEPING ---

[ ] Debris Volume (Cubic Meters)

[ ] Floor Condition (Excellent, Good, Fair, Poor)

[ ] Housekeeping Issues Observed (Trash Accumulation, Spills/Leaks, Obstructions, Pests Observed, Poor Ventilation, Clutter)

[ ] Notes on Specific Areas

[ ] Last Cleaning Date

[ ] Inspector Signature

--- END OF TEMPLATE ---

Transform this text into a digital, automated, and trackable mobile app!

Visit: https://checklistguro.com/templates/energy/power-plant-maintenance-checklist-template

(Click "Install Template" to launch your digital inspection tool immediately)