## 6a410ebc8d045fc590b65e73
Label	Description

Created by checklistguro.com

Start (START)	Start of the Workflow/Process
1. Fetch Sensor Telemetry (ENTRY_GET)	Retrieve the latest vibration, temperature, and pressure readings from the IoT sensor data model.
2. Get Asset Metadata (ENTRY_GET)	Retrieve machine specifications, maintenance history, and threshold limits from the Equipment data model.
3. Calculate Health Score (CALCULATION)	Execute a formula comparing current sensor values against predefined threshold limits to determine the degradation percentage.
4. Calculate Remaining Useful Life (RUL) (CALCULATION)	Calculate the estimated time until failure based on the rate of change in sensor degradation.
5. Average Weekly Vibration (ENTRY_AGGREGATE)	Aggregate the last 7 days of vibration data to identify upward trends in mechanical oscillation.
6. Update Asset Health Status (ENTRY_UPDATE)	Update the 'Current Condition' field in the Equipment data model based on the calculated health score.
7. Create Anomaly Alert (ENTRY_CREATE)	Create a new entry in the Alerts data model when sensor values exceed safety thresholds.
8. Assign Maintenance Inspection (TASK_CREATE)	Create a task for the Maintenance Technician to perform a physical inspection of the flagged asset.
9. Determine Priority Level (CALCULATION)	Calculate task priority (Low, Medium, High, Critical) based on the RUL and the impact of asset failure.
10. Notify Maintenance Manager (EMAIL)	Send an email notification to the Maintenance Manager containing the anomaly details and the calculated risk level.
11. Generate Work Order (TASK_CREATE)	Create a specific task for the Parts Department to check availability of replacement components.
12. Fetch Inventory Levels (ENTRY_GET)	Retrieve stock levels for critical spare parts from the Inventory data model.
13. Log Maintenance Event (ENTRY_UPDATE)	Update the Maintenance Log entry to record that a predictive alert was triggered and an inspection was initiated.
14. Generate Monthly Health Report (REPORT_CREATE)	Create a summary report aggregating all detected anomalies and completed inspections for the monthly management review.
15. Emergency Alert SMS (SMS)	Send an urgent SMS to the On-Call Engineer if the health score drops below the critical threshold (e.g., < 10%).
End (END)	End of the Workflow/Process