## Sheet1
Label | Value | Notes
Created by checklistguro.com
System Overview & Documentation (STEP)
Last System Drawing Review Date (DATE)
Summary of Recent System Modifications (if any) (TEXT)
Operating Procedure Version (SELECTION options: Version 1.0, Version 1.1, Version 1.2, Version 1.3)
Drawing Revision Number (NUMBER)
Description of Any Observed Discrepancies Between As-Built Drawings and Actual System (TEXT)
Emergency Contact List Current? (SELECTION options: Yes, No)
Upload Relevant Documentation (e.g., SOPs, Permits) (UPLOAD)
Water Quality Parameters (STEP)
pH Level (NUMBER)
Turbidity (NTU) (NUMBER)
Total Dissolved Solids (TDS) (mg/L) (NUMBER)
Free Chlorine Residual (mg/L) (If Applicable) (NUMBER)
Conductivity (µS/cm) (NUMBER)
Water Appearance (SELECTION options: Clear, Cloudy, Discolored)
Notes on Water Quality Observations (TEXT)
Pressure and Flow (STEP)
Supply Pressure (PSI/Bar) (NUMBER)
Return Pressure (PSI/Bar) (NUMBER)
Flow Rate (GPM/LPM) (NUMBER)
Flow Meter Status (SELECTION options: Operational, Faulty, Needs Calibration)
Pressure Drop Across Filter (PSI/Bar) (NUMBER)
Time of Flow Measurement (DATE)
Notes on Pressure/Flow Observations (TEXT)
Equipment Performance (STEP)
Pump 1 Discharge Pressure (PSI) (NUMBER)
Pump 2 Flow Rate (GPM) (NUMBER)
Filter Condition (Pump 1) (SELECTION options: Excellent, Good, Fair, Poor)
Valve Operation (Control Valve A) (SELECTION options: Operating Normally, Sticking, Leaking, Seized)
Any unusual noises or vibrations observed? (TEXT)
Last Lubrication Date (Pump 1) (DATE)
Pump Motor Current (Amps - Pump 2) (NUMBER)
Equipment needing attention (select all that apply) (SELECTION options: Pump 1, Pump 2, Filter A, Control Valve A, None)
Alarm System & Response (STEP)
Alarm System Status Check (0=Fault, 1=Operational) (NUMBER)
Time of Last Alarm Occurrence (DATE)
Description of Last Alarm Event (if applicable) (TEXT)
Alarm Response Procedure Followed? (SELECTION options: Yes, No)
Details of Alarm Response Actions Taken (TEXT)
Number of False Alarms in Last Period (NUMBER)
Attach Alarm Log Screenshot (if applicable) (UPLOAD)
Tank Levels & Storage (STEP)
Tank 1 Water Level (feet/meters) (NUMBER)
Tank 2 Water Level (feet/meters) (NUMBER)
Tank Capacity (gallons/liters) (NUMBER)
Freeboard (inches/cm) (NUMBER)
Storage Area Condition (SELECTION options: Clean and Dry, Slight Dampness, Visible Moisture, Standing Water)
Observations/Comments on Storage Area (TEXT)
Evidence of Leaks? (SELECTION options: No, Yes - Minor, Yes - Moderate, Yes - Severe)
Attach Photo of Tank/Storage Area (if applicable) (UPLOAD)
Disinfection System (if applicable) (STEP)
Disinfectant Residual (ppm) (NUMBER)
pH Level (NUMBER)
Disinfection Method (SELECTION options: Chlorination, UV Radiation, Ozonation, Other (Specify in LONG_TEXT))
If 'Other' disinfection method, please specify: (TEXT)
UV Lamp Intensity (mW/cm² - if applicable) (NUMBER)
Last UV Lamp Replacement Date (if applicable) (DATE)
Time of Disinfection System Readings (DATE)
Disinfection System Operational Status (SELECTION options: Operational, Standby, Faulted)
Any observations or issues related to disinfection system? (TEXT)
Log Keeping and Record Maintenance (STEP)
Date of Log Entry (DATE)
Time of Log Entry (DATE)
Monitoring Round Number/Sequence (NUMBER)
Summary of Monitoring Activities Performed (TEXT)
Description of any Abnormal Readings or Issues (TEXT)
Calibration Status of Monitoring Equipment (SELECTION options: Current & Valid, Calibration Needed, Out of Calibration)
Supporting Documentation (e.g., Calibration Certificates) (UPLOAD)
Signature of Monitoring Personnel (SIGNATURE)