RADIOLOGY EQUIPMENT MAINTENANCE CHECKLIST

Created by ChecklistGuro (https://checklistguro.com)

--- GENERAL ROOM ENVIRONMENT ---

[ ] Room Temperature (°C)

[ ] Room Humidity (%)

[ ] Evidence of Water Leaks? (Yes, No, Unsure)

[ ] Evidence of Pests? (Yes, No, Unsure)

[ ] Notes on Room Condition (e.g., dust, cleanliness)

[ ] Adequate Lighting? (Yes, No, Needs Adjustment)

[ ] Last Cleaning Date

--- X-RAY GENERATOR ---

[ ] Generator Output Voltage (kVp)

[ ] Generator Tube Current (mA)

[ ] Exposure Time (mSec/s)

[ ] Heat Sink Temperature (°C)

[ ] Generator Cooling System Status (Operational, Warning - Reduced Efficiency, Fault - Requires Attention)

[ ] Inverter Status (Normal, Warning, Error)

[ ] Any unusual noises observed during operation?

[ ] Date of Last High Voltage Cable Inspection

--- X-RAY TUBE ---

[ ] Tube Loading (mA-s)

[ ] Tube Voltage (kV)

[ ] Tube Current (mA)

[ ] Tube Cooling Fan Operation (RPM)

[ ] Tube Condition (Visual Inspection) (Excellent, Good, Fair, Poor - Requires Attention)

[ ] Detailed Notes on Tube Condition (Burn Marks, Discoloration, etc.)

[ ] Last Tube Replacement Date

[ ] Arcing Observed? (Yes, No)

--- HIGH VOLTAGE SYSTEM ---

[ ] High Voltage Output Voltage (kV)

[ ] Leakage Current (µA)

[ ] Insulation Resistance (MΩ)

[ ] High Voltage Cable Condition (Excellent, Good, Fair, Poor)

[ ] Coolant Level (if applicable) (Normal, Low, Empty, N/A (Air Cooled))

[ ] Observations/Notes on High Voltage System

[ ] Last HV Transformer Oil Analysis Date (if applicable)

[ ] Upload HV System Test Report (if applicable)

--- IMAGE RECEPTOR (DETECTOR) ---

[ ] Pixel Value Histogram Peak (LU)

[ ] Pixel Value Histogram Width (LU)

[ ] Signal-to-Noise Ratio (SNR)

[ ] Uniformity Ratio (%)

[ ] Detector Type (CR, DR (Flat Panel), DR (Curved Panel), DR with AI)

[ ] Any observed artifacts or issues?

[ ] Last Calibration Date

[ ] Image Receptor Test Results (e.g., MTF curves, linearity)

--- COLLIMATION & LIGHT FIELD ---

[ ] Light Field Alignment: Left-Right Deviation (mm)

[ ] Light Field Alignment: Above-Below Deviation (mm)

[ ] Light Field Source Condition (Excellent, Good, Fair, Poor, Needs Replacement)

[ ] Collimator Operation: Smoothness of Movement (Smooth, Slightly Rough, Rough, Not Operational)

[ ] Collimator Leaf Alignment (Aligned, Slightly Misaligned, Misaligned – Requires Adjustment, Damaged - Requires Repair/Replacement)

[ ] Any Comments/Observations Regarding Collimation or Light Field?

[ ] Date of Last Light Field Calibration

--- PATIENT SUPPORT & TABLE ---

[ ] Last Table Surface Cleaning

[ ] Table Movement Speed (mm/s)

[ ] Table Functionality - Up/Down (Functional, Requires Repair)

[ ] Table Functionality - Tilt (Functional, Requires Repair)

[ ] Patient Weight Capacity Verified? (Yes, No)

[ ] Any observed damage to table surface (cracks, wear)?

[ ] Table Locking Mechanism Functioning Properly? (Yes, No)

[ ] Table Height at lowest setting (mm)

[ ] Table Height at highest setting (mm)

[ ] Technician Signature

--- DOSE CALIBRATION & QUALITY ASSURANCE ---

[ ] Last Calibration Date

[ ] Measured kVp at Nominal mA

[ ] Measured Exposure Time

[ ] Deviation from Nominal kVp (%)

[ ] Deviation from Nominal Exposure Time (%)

[ ] Image Receptor (Detector) QA Result - Spatial Resolution (Pass, Marginal, Fail)

[ ] Image Receptor (Detector) QA Result - Uniformity (Pass, Marginal, Fail)

[ ] Comments/Observations regarding Dose Calibration & QA

[ ] Phantom Image Upload (if applicable)

--- SAFETY INTERLOCKS & SHIELDING ---

[ ] Interlock System Test Status (Pass, Fail, Not Performed)

[ ] Radiation Leakage Measurement (mSv)

[ ] Shielding Integrity (Intact, Minor Damage, Significant Damage)

[ ] Details of any Shielding Damage (if applicable)

[ ] Last Shielding Inspection Date

[ ] Interlock Tests Performed (Entrance/Exit Door Interlock, Table Position Interlock, Operator Screen Interlock, Emergency Stop Function)

[ ] Notes on Interlock Functionality

--- ELECTRICAL AND MECHANICAL SYSTEMS ---

[ ] Voltage Input (VAC)

[ ] Power Consumption (VA)

[ ] Motor Speed (RPM)

[ ] Grounding Connection Status (Secure, Loose, Corroded)

[ ] Cooling Fan Operation (Normal, Noisy, Not Operating)

[ ] Last Lubrication Date (Motors/Bearings)

[ ] Detailed Observations/Comments (Electrical/Mechanical)

[ ] Upload relevant documentation/photos

--- END OF TEMPLATE ---

Transform this text into a digital, automated, and trackable mobile app!

Visit: https://checklistguro.com/templates/facility-management/radiology-equipment-maintenance-checklist

(Click "Install Template" to launch your digital inspection tool immediately)