SCIENCE LAB VENTILATION SYSTEM CHECKLIST

Created by ChecklistGuro (https://checklistguro.com)

--- GENERAL SYSTEM OVERVIEW ---

[ ] System Capacity (CFM)

[ ] Date of Last System Design Review

[ ] Brief Description of Ventilation System Type (e.g., Dedicated Exhaust, General Lab Exhaust)

[ ] System Operational Status (Operational, Needs Repair, Out of Service)

[ ] Upload System Schematics/Drawings (if available)

[ ] System Manufacturer

[ ] Model Number

[ ] Any recent or ongoing modifications to the ventilation system?

--- SUPPLY AIR SYSTEM ---

[ ] Supply Air Temperature (°C)

[ ] Supply Air Volume (m³/h)

[ ] Air Intake Condition (Clear, Minor Debris, Significant Debris, Obstructed)

[ ] Fan Operational Status (Normal, Noisy, Vibrating, Not Operational)

[ ] Last Filter Replacement Date

[ ] Notes on Supply Air System Condition

[ ] Static Pressure at Supply Diffuser (Pa)

--- EXHAUST AIR SYSTEM ---

[ ] Exhaust Fan RPM (revolutions per minute)

[ ] Static Pressure at Exhaust Hood (inches of water gauge)

[ ] Exhaust Duct Integrity: (Visual Inspection) (No Damage, Minor Damage, Significant Damage, N/A)

[ ] Exhaust Damper Operation (Operating Correctly, Stuck Open, Stuck Closed, Manual Override Engaged)

[ ] Date of Last Exhaust System Cleaning

[ ] Observations/Comments on Exhaust System

[ ] Exhaust Filter Condition (Clean, Slightly Soiled, Moderately Soiled, Heavily Soiled, N/A)

--- AIR FILTRATION SYSTEM ---

[ ] Filter Frame Condition (Scale 1-5, 1=Poor, 5=Excellent)

[ ] Pre-Filter Pressure Drop (inches of water)

[ ] Main Filter Pressure Drop (inches of water)

[ ] Filter Type (HEPA, Carbon, Pleated, Other (Specify in LONG_TEXT))

[ ] If 'Other' Filter Type Selected, please specify:

[ ] Last Filter Replacement Date

[ ] Upload Photo of Filter (Optional)

[ ] Filter Media Condition (Visual Inspection) (Good, Moderate, Poor, N/A - Not inspected)

[ ] Filter Serial Number (if available)

--- LABORATORY FUME HOODS ---

[ ] Face Velocity (FPM)

[ ] Static Pressure (inches of water)

[ ] Hood Sash Operation (Operates Smoothly, Difficult to Move, Sticks/Won't Close, Other - Specify Below)

[ ] Notes on Sash Operation (if applicable)

[ ] Smoke Test Passed? (Yes, No, Not Performed)

[ ] Smoke Test Observations (if applicable)

[ ] Airflow Indicator Functioning? (Yes, No, N/A)

[ ] Last Filter Change Date

--- AIRFLOW MONITORING & ALARMS ---

[ ] Main Supply Airflow Rate (CFM/m³/min)

[ ] Main Exhaust Airflow Rate (CFM/m³/min)

[ ] Fume Hood Airflow (Face Velocity) (FPM/m/s)

[ ] Airflow Readings within Specified Range? (Yes, No, Not Applicable)

[ ] Alarm System Operational? (Yes, No, Not Applicable)

[ ] Date of Last Airflow Calibration

[ ] Notes on Airflow Readings and Alarm System Functionality

[ ] Alarm Silence Functionality Tested? (Yes, No, Not Applicable)

--- MAINTENANCE RECORDS REVIEW ---

[ ] Last System Maintenance Date

[ ] Total Hours Since Last Filter Change

[ ] Summary of Maintenance Activities Performed

[ ] Filter Type Verified? (Yes, No, N/A)

[ ] Upload Maintenance Records (PDF, DOCX)

[ ] Calibration Records Verified? (Yes, No, N/A)

[ ] Date of Last Calibration

--- END OF TEMPLATE ---

Transform this text into a digital, automated, and trackable mobile app!

Visit: https://checklistguro.com/templates/facility-management/science-lab-ventilation-system-checklist

(Click "Install Template" to launch your digital inspection tool immediately)