SECURITY CAMERA FUNCTIONALITY CHECKLIST (WEEKLY/MONTHLY)

Created by ChecklistGuro (https://checklistguro.com)

--- SYSTEM HEALTH & CONNECTIVITY ---
[ ] System Uptime (Hours)
[ ] Network Connection Status (Connected, Disconnected, Intermittent)
[ ] Bandwidth Usage (MB)
[ ] Central Server Status (Online, Offline, Degraded)
[ ] Last Reboot Date
[ ] Notes/Observations (System Health)

--- CAMERA FUNCTIONALITY - VISUAL & RECORDING ---
[ ] Camera 1: Frame Rate (FPS) - Verify
[ ] Camera 1: Resolution (Pixels) - Verify
[ ] Camera 2: Image Quality (Overall) (Excellent, Good, Fair, Poor)
[ ] Camera 3: Any Image Distortion or Artifacts Observed?
[ ] Camera 4: Night Vision Effectiveness (Excellent, Good, Fair, Poor)
[ ] Camera 1: Bitrate (Mbps) - Verify
[ ] Last Video Quality Review Date (for records)
[ ] Notes on any specific camera issues observed (e.g., flickering, blur)

--- MOTION DETECTION & ALERTS ---
[ ] Verify Motion Detection Zones are Active & Correct (Active & Correct, Needs Adjustment, Inactive)
[ ] Motion Detection Sensitivity Level (Scale of 1-10)
[ ] Test Motion Detection - Validate Triggering (Triggered as Expected, Did Not Trigger, False Positive)
[ ] Verify Alert Notifications are Received (Received as Expected, Not Received, Delayed)
[ ] Notes/Details on Motion Detection Testing
[ ] Verify alert notification method (Email, SMS, Push Notification, Other)

--- REMOTE ACCESS & PLAYBACK ---
[ ] Ping Response Time (Remote Access)
[ ] Remote Access Method (Web/App/Software) (Web Browser, Mobile Application (iOS), Mobile Application (Android), Dedicated Software (Windows/Mac))
[ ] Authentication Success? (Yes, No)
[ ] Last Successful Remote Access Login
[ ] Notes/Observations regarding Remote Access
[ ] Playback Functionality - Forward (Working, Not Working, Intermittent)
[ ] Playback Functionality - Rewind (Working, Not Working, Intermittent)

--- STORAGE & RETENTION ---
[ ] Current Storage Capacity (GB)
[ ] Total Storage Capacity (GB)
[ ] Percentage of Storage Used
[ ] Days of Recording Retained
[ ] Retention Policy Compliance (e.g., Legal, Company) (Compliant, Minor Deviation, Significant Deviation, Not Compliant)
[ ] Last Storage Capacity Review Date
[ ] Notes on Storage or Retention Issues

--- POWER & ENVIRONMENTAL FACTORS ---
[ ] Ambient Temperature (near cameras)
[ ] Power Supply Voltage (at camera)
[ ] Camera Housing Condition (Excellent, Good, Fair, Poor - Needs Attention)
[ ] Power Supply Status (Active, Standby, Faulty)
[ ] Notes on Environmental Factors (e.g., dust, humidity, obstructions)
[ ] Last Cleaning Date (lens & housing)

--- SOFTWARE & FIRMWARE ---
[ ] Current NVR/DVR Firmware Version
[ ] Current Camera Firmware Version (Sample Camera 1)
[ ] Current Camera Firmware Version (Sample Camera 2)
[ ] Are there any available firmware updates? (Yes, No, Unknown)
[ ] Notes on Software/Firmware Checks (e.g., errors encountered, research required)
[ ] Last Firmware Update Date (If Applicable)
[ ] Software Platform Version (e.g., VMS version)

--- END OF TEMPLATE ---
Transform this text into a digital, automated, and trackable mobile app!
Visit: https://checklistguro.com/templates/retail/security-camera-functionality-checklist-weekly-monthly
(Click "Install Template" to launch your digital inspection tool immediately)