## Sheet1
Label | Value | Notes
Created by checklistguro.com
System Overview & Initial Checks (STEP)
Date of Inspection (DATE)
Time of Inspection (DATE)
System Uptime (Hours) (NUMBER)
Overall System Status (SELECTION options: Operational, Minor Issues, Major Issues, Offline)
Brief Description of Initial Observations (TEXT)
Power Supply Status (SELECTION options: Normal, Fluctuations, Intermittent, Failed)
Location of Main Control Panel (LOCATION)
System Version Number (TEXT)
Control Panel & Central Monitoring Station (STEP)
Control Panel Battery Voltage (V) (NUMBER)
UPS Battery Backup Time (minutes) (NUMBER)
Communication Status (Central Monitoring) (SELECTION options: Connected, Disconnected, Degraded Connection)
Notes on Panel Operation/Errors (TEXT)
Last System Log Review Date (DATE)
Time of System Check Start (DATE)
Panel Tamper Status (SELECTION options: Normal, Tampered, Unknown)
Access Control System (ACS) (STEP)
Number of Active User Accounts (NUMBER)
Access Control System Manufacturer (SELECTION options: HID Global, Bogen Communications, Honeywell, Johnson Controls, Other)
Access Card/Fob Types Supported (SELECTION options: Proximity Card, Smart Card, Mobile Credential, Biometric (Fingerprint), Biometric (Facial Recognition))
Last Card/Fob Inventory Date (DATE)
Time of Last Door Locking/Unlocking Test (DATE)
Description of any Access Control Anomalies/Observations (TEXT)
System Firmware Version (SELECTION)
Location of Main ACS Server Room (LOCATION)
CCTV Surveillance System (STEP)
Total Number of Operational Cameras (NUMBER)
Camera Recording Resolution (per camera) (SELECTION options: Standard Definition (SD), High Definition (HD), Full HD, 4K)
Camera Lens Type (dominant type) (SELECTION options: Fixed, Varifocal, PTZ (Pan-Tilt-Zoom))
Days of Recording Retention (NUMBER)
Description of any observed video quality issues (e.g., blur, pixelation) (TEXT)
DVR/NVR Status (SELECTION options: Online, Offline, Degraded)
Last System Software Update Date (DATE)
Notes on any identified vulnerabilities or concerns regarding the CCTV system (TEXT)
Intrusion Detection System (IDS) - Alarm System (STEP)
Battery Voltage (Main Panel) (NUMBER)
Battery Voltage (Zone 1) (NUMBER)
Zone Status (e.g., Armed, Disarmed, Bypassed) (SELECTION options: Armed, Disarmed, Bypassed, Trouble)
Time of Last Alarm Trigger (if any) (DATE)
Notes on Last Alarm Trigger (if any) (TEXT)
Door/Window Sensor Functionality (Zone 1) (SELECTION options: Functional, Faulty, Missing)
Motion Detector Sensitivity (Zone 1) (SELECTION options: Optimal, High, Low)
Date of Last Sensor Calibration (DATE)
Fire Detection & Alarm System Integration (STEP)
Fire Panel Communication Status Code (Received from FAC) (NUMBER)
Integration Method (e.g., Direct Connection, Networked) (SELECTION options: Direct Connection, Networked, Other - Specify)
Description of Integration Protocol Used (e.g., BACnet, Modbus) (TEXT)
Last Fire System Integration Test Date (DATE)
Time of Last Fire System Integration Test (DATE)
Confirmation of Automatic System Reset After Alarm (SELECTION options: Yes, No, N/A)
Response Time (Seconds) from Fire Alarm to Security System Notification (NUMBER)
Notes/Observations during Integration Testing (e.g., any delays, error messages) (TEXT)
Power Backup & System Redundancy (STEP)
UPS Battery Voltage (V) (NUMBER)
UPS Battery Capacity (AH) (NUMBER)
Generator Run Time (minutes) - Last Test (NUMBER)
Last UPS Battery Replacement Date (DATE)
Last Generator Maintenance Date (DATE)
Generator Fuel Level (SELECTION options: Full, Sufficient, Low, Critical)
Automatic Transfer Switch (ATS) Operational Status (SELECTION options: Operational, Needs Repair)
Notes/Comments on Power Backup System (TEXT)
Reporting & Documentation (STEP)
Date of Last System Review (DATE)
Time of System Review Started (DATE)
Summary of Review Findings (TEXT)
Number of Alarm Events Recorded (NUMBER)
Alarm Event Verification Status (SELECTION options: Verified & Resolved, Unverified - Further Investigation Required, False Alarm - Root Cause Analysis Needed)
Attach System Log Export (UPLOAD)
Recommended Actions / Corrective Measures (TEXT)
Report Distribution Method (SELECTION options: Email, Printed Copy, Shared Drive)
System Updates & Software (STEP)
Current System Firmware Version (NUMBER)
Last Firmware Update Version (if applicable) (NUMBER)
Date of Last Software Update (DATE)
Software Update Source (e.g., Vendor, Internal Team) (SELECTION options: Vendor, Internal Team, Other)
Details of Latest Software/Firmware Update (including version numbers and changes) (TEXT)
Security Patch Status (e.g., Applied, Pending, Not Applicable) (SELECTION options: Applied, Pending, Not Applicable)
Notes/Comments regarding software updates (e.g., Issues encountered, planned updates) (TEXT)
Upload Screenshot of Software Version Information (optional) (UPLOAD)