SERVER ROOM ENVIRONMENTAL CONTROLS CHECKLIST

Created by ChecklistGuro (https://checklistguro.com)

--- TEMPERATURE MONITORING & CONTROL ---

[ ] Current Server Room Temperature (Degrees Celsius/Fahrenheit)

[ ] Target Temperature Range (Minimum, Degrees Celsius/Fahrenheit)

[ ] Target Temperature Range (Maximum, Degrees Celsius/Fahrenheit)

[ ] Temperature Measurement Device Calibration Status (Calibrated within Calibration Period, Calibration Due Soon, Calibration Overdue)

[ ] Temperature Control System Mode (Automatic, Manual, Standby)

[ ] Notes/Observations Regarding Temperature

[ ] Date of Last Temperature-Related Maintenance

--- HUMIDITY MONITORING & CONTROL ---

[ ] Current Humidity (%)

[ ] Target Humidity Range (%)

[ ] Dehumidifier Status (Operating Normally, Malfunctioning, Not Required)

[ ] Humidifier Status (if applicable) (Operating Normally, Malfunctioning, Not Required)

[ ] Last Dehumidifier Filter Change

[ ] Notes/Comments on Humidity Levels & Controls

[ ] Dew Point Temperature (Calculated)

--- AIRFLOW MANAGEMENT ---

[ ] Rack Airflow Obstruction (Percentage)

[ ] Blanking Panels Installed? (Yes, No, Partially Installed)

[ ] Raised Floor Tile Condition Rating (1-5, 1=Excellent, 5=Poor)

[ ] Observations on Airflow Patterns or Hot Spots

[ ] Cable Management Adequacy (Excellent, Good, Fair, Poor)

[ ] Photos/Diagrams of Airflow & Cable Management

[ ] Hot Aisle/Cold Aisle Containment? (Yes - Fully Implemented, Yes - Partially Implemented, No)

--- COOLING SYSTEM PERFORMANCE ---

[ ] Cooling Unit 1 Inlet Air Temperature (°C)

[ ] Cooling Unit 1 Outlet Air Temperature (°C)

[ ] Cooling Unit 1 Power Consumption (kW)

[ ] Cooling Unit 1 Refrigerant Pressure (High/Low) (PSI)

[ ] Cooling Unit 1 Condenser Fan Speed (RPM)

[ ] Cooling Unit 1 Noise Level (Subjective) (Normal, Slightly Elevated, Elevated/Concerning)

[ ] Any unusual noises or vibrations observed?

[ ] Last Filter Replacement Date (Cooling Unit 1)

--- POWER BACKUP & COOLING REDUNDANCY ---

[ ] UPS Runtime Remaining (Hours)

[ ] UPS Status (Online, Standby, Fault)

[ ] Generator Status (Operational, Standby, Maintenance, Fault)

[ ] Last Generator Test Date

[ ] Cooling Unit Redundancy Factor

[ ] Redundant Cooling Units Operational? (All Operational, One Offline (Scheduled Maintenance), One Offline (Unscheduled), None Operational)

[ ] Notes on Redundancy System Observations

--- ALARM SYSTEM & NOTIFICATIONS ---

[ ] Current Temperature Alarm Setpoint (Degrees Celsius)

[ ] Current Humidity Alarm Setpoint (%)

[ ] Alarm Notification Method(s) (Email, SMS, On-site Display, Phone Call)

[ ] Email Address(es) Receiving Alarms

[ ] SMS Phone Number(s) Receiving Alarms

[ ] Alarm Escalation Procedure Documented? (Yes, No)

[ ] Last Alarm System Test Date

[ ] Notes on Alarm System Testing or Recent Adjustments

--- DOCUMENTATION & RECORD KEEPING ---

[ ] Last Environmental Control System Review Date

[ ] Temperature Log Frequency (e.g., Readings per day)

[ ] Humidity Log Frequency (e.g., Readings per day)

[ ] Summary of Recent Environmental Control System Maintenance Performed

[ ] Attach Recent Temperature and Humidity Logs (PDF/CSV)

[ ] Alarm System Documentation Location (Network Drive, Physical Binder, Cloud Storage)

[ ] Notes/Comments Regarding Environmental Control Records

[ ] Date of Last Calibration of Sensors

--- END OF TEMPLATE ---

Transform this text into a digital, automated, and trackable mobile app!

Visit: https://checklistguro.com/templates/facility-management/server-room-environmental-controls-checklist

(Click "Install Template" to launch your digital inspection tool immediately)