## 6a3910015a1e7cf130c0d068
Label	Value	Notes

Created by ChecklistGuro (https://checklistguro.com)

Visual Inspection (STEP)
Panel Condition (TEXT)
Describe any visible damage (TEXT)
Upload photos of panel condition (UPLOAD)
Number of cracked cells (if any) (NUMBER)
Evidence of Delamination? (SELECTION options: Yes, No)
Evidence of discoloration? (SELECTION options: Yes, No)
Notes on Frame Condition (TEXT)

Panel Cleaning (STEP)
Cleaning Date (DATE)
Cleaning Start Time (DATE)
Cleaning Method Used (SELECTION options: Water & Brush, Deionized Water, Specialized Solar Panel Cleaner)
Water Pressure (PSI) (NUMBER)
Cleaning Notes (TEXT)
Panel Temperature (°C) (NUMBER)

Wiring and Connections (STEP)
Wire Gauge (AWG) (NUMBER)
Connector Type (SELECTION options: MC4, Other)
Connector Manufacturer (TEXT)
Comments on Wire Condition (TEXT)
Corrosion Present? (SELECTION options: Yes, No)
Torque Value (Nm/lb-in) (NUMBER)

Inverter Performance (STEP)
DC Voltage (V) (NUMBER)
AC Voltage (V) (NUMBER)
Output Power (kW) (NUMBER)
Efficiency (%) (NUMBER)
Error Codes Present? (SELECTION options: None, Yes, See Long Text, N/A)
Error Code Details (If Applicable) (TEXT)
Last Firmware Update Date (DATE)
Time of Reading (DATE)

Mounting Structure (STEP)
Torque Value (Nm/ft-lbs) (NUMBER)
Mounting Bolt Condition (1-10, 10=Excellent) (NUMBER)
Corrosion Present? (SELECTION options: Yes, No)
Description of any corrosion observed (TEXT)
Mounting Hardware Integrity? (SELECTION options: Intact, Cracked, Deformed, Missing)
Distance Between Mounting Points (mm/in) (NUMBER)

DC Disconnect Switch (STEP)
Switch Identification Number (TEXT)
Last Inspection Date (DATE)
Switch Voltage (V) (NUMBER)
Switch Operational Status (SELECTION options: Functional, Malfunctioning, Needs Repair)
Notes / Observations (TEXT)
Inspector Signature (SIGNATURE)

Grounding System (STEP)
Grounding Conductor Visual Inspection Notes (TEXT)
Ground Resistance Value (Ω) (NUMBER)
Grounding Connection Condition (SELECTION options: Good, Fair, Poor)
Last Grounding System Inspection Date (DATE)
Any observed corrosion on grounding components? (TEXT)
Grounding system bonding integrity? (SELECTION options: Verified, Not Verified)

Vegetation Management (STEP)
Distance to Nearest Vegetation (ft) (NUMBER)
Vegetation Type (SELECTION options: Trees, Bushes, Grass, Vines, Other)
Description of Vegetation Concerns (TEXT)
Last Trimming Date (DATE)
Trimming Required? (SELECTION options: Yes, No)
Notes on Trimming Actions (if applicable) (TEXT)

Performance Monitoring (STEP)
DC Voltage (V) (NUMBER)
AC Voltage (V) (NUMBER)
DC Current (A) (NUMBER)
AC Current (A) (NUMBER)
Power Output (kW) (NUMBER)
Date of Performance Check (DATE)
Time of Performance Check (DATE)
Performance Notes/Observations (TEXT)

Documentation (STEP)
Date of Inspection (DATE)
Time of Inspection (DATE)
Observations/Notes (TEXT)
Panel Voltage (V) (NUMBER)
Panel Current (A) (NUMBER)
Technician Signature (SIGNATURE)
Next Scheduled Maintenance (SELECTION options: 30 Days, 60 Days, 90 Days, Other)