SPILL PREVENTION, CONTROL, AND COUNTERMEASURE (SPCC) PLAN CHECKLIST

Created by ChecklistGuro (https://checklistguro.com)

--- PLAN ADMINISTRATION & PERSONNEL TRAINING ---

[ ] Last SPCC Plan Review Date

[ ] Name of Responsible Person(s)

[ ] Number of Employees Trained on SPCC Plan

[ ] Training Topics Covered (Select all that apply) (Spill Prevention, Spill Response Procedures, Equipment Inspection, Reporting Requirements, Containment Systems, Permits and Regulations)

[ ] Date of Last Training Session

[ ] Summary of Training Content & Methods Used

[ ] Upload Training Records/Certificates

--- FACILITY DESCRIPTION & POTENTIAL HAZARDS ---

[ ] Facility Description

[ ] Total Oil Storage Capacity (Gallons)

[ ] Location of Facility (Address)

[ ] Identify potential spill hazards (e.g., storage tanks, loading racks, process areas) (Storage Tanks, Loading Racks, Process Areas, Drainage Ditches, Waste Collection Areas, Other (Specify in LONG_TEXT))

[ ] Description of surrounding environment (e.g., proximity to waterways, wetlands, sensitive areas)

[ ] Is the facility located within a 10-year floodplain? (Yes, No, Uncertain)

[ ] Site Map showing oil storage areas and potential spill pathways

--- OIL STORAGE AND CONTAINMENT ---

[ ] Tank Volume (Gallons)

[ ] Tank Material of Construction (Steel, Polyethylene, Fiberglass, Concrete, Other (Specify in LONG_TEXT))

[ ] If 'Other' tank material, please specify:

[ ] Secondary Containment Type (Dike, Double-Walled Tank, Spill Pad, None, Other (Specify in LONG_TEXT))

[ ] If 'Other' secondary containment, please specify:

[ ] Containment Volume (Gallons) - If applicable

[ ] Tank Integrity Testing - Type of Test Performed (Visual Inspection, Ultrasonic Testing, Hydrostatic Testing, None, Other (Specify in LONG_TEXT))

[ ] If 'Other' integrity testing, please specify:

[ ] Date of Last Tank Integrity Test

[ ] Upload Tank Inspection Report (if applicable)

--- LOADING AND UNLOADING OPERATIONS ---

[ ] Describe the loading/unloading procedures for all oil-containing materials.

[ ] What is the maximum unloading rate (gallons/minute) for any single hose?

[ ] What type of spill containment is provided during loading/unloading? (Drip Pans, Curbs, Containment Berms, None, Other - Specify in LONG_TEXT)

[ ] Check all applicable methods used to prevent overfilling during unloading. (Automatic Shut-Off Devices, Level Gauges, Visual Monitoring, Flow Meter, Other - Specify in LONG_TEXT)

[ ] Date of last inspection of loading arms/hoses.

[ ] Describe any visual inspection checklist used for loading/unloading equipment.

[ ] Are personnel involved in loading/unloading operations trained on spill prevention? (Yes, No, N/A)

[ ] Upload photos of loading/unloading areas, including spill containment.

--- PROCESS PIPING AND EQUIPMENT ---

[ ] Maximum Operating Pressure of Piping (PSI)

[ ] Pipe Wall Thickness (inches)

[ ] Material of Piping (e.g., Steel, PVC) (Carbon Steel, Stainless Steel, PVC, Other - Specify, Composite)

[ ] Describe Secondary Containment for Piping (if any)

[ ] Are Piping Supports Adequate to Prevent Sagging or Damage? (Yes, No, N/A)

[ ] Date of Last Piping Inspection

[ ] Describe any identified deficiencies during the last piping inspection and corrective actions taken.

[ ] Upload Piping Inspection Report (if applicable)

--- SPILL PREVENTION MEASURES ---

[ ] Secondary Containment Volume (for tanks)

[ ] Containment Type(s) in Use (e.g., dikes, berms, double-walled) (Dike, Berm, Double-walled Tank, Concrete Pad, Other (Specify in LONG_TEXT))

[ ] Description of Tank Overfill Prevention System(s)

[ ] Condition of Tank Foundations (Good, Fair, Poor, N/A)

[ ] Date of Last Tank Integrity Inspection

[ ] Describe any preventative measures taken to protect piping from physical damage.

[ ] Condition of Piping Supports (Good, Fair, Poor, N/A)

--- SPILL CONTROL AND COUNTERMEASURES ---

[ ] Number of Absorbent Materials (e.g., pads, socks) on hand

[ ] Available Spill Response Equipment (Check all that apply) (Boom, Skimmer, Vacuum Truck, Neutralizing Agents, Personal Protective Equipment (PPE))

[ ] Detailed Spill Response Procedures (Summary)

[ ] Location of Spill Response Equipment Storage Area

[ ] Primary Spill Response Coordinator

[ ] Date of Last Spill Response Drill

[ ] Description of Spill Response Drill Results and Corrective Actions (if any)

[ ] Photos of Spill Response Equipment and Storage Area

[ ] Quantity of Spill Response Kits Available

--- INSPECTIONS AND RECORDKEEPING ---

[ ] Date of Last SPCC Plan Inspection

[ ] Inspection Frequency (days between inspections)

[ ] Summary of Findings from Last SPCC Plan Inspection

[ ] Areas Inspected During Last SPCC Plan Inspection (Check all that apply) (Oil Storage Tanks, Loading/Unloading Areas, Process Piping, Containment Structures, Drainage Systems, Security Perimeter, Emergency Equipment)

[ ] Corrective Actions Taken Following Last Inspection (if applicable)

[ ] Date Corrective Actions Completed (if applicable)

[ ] Attach Inspection Report Documentation (PDF, DOC, etc.)

[ ] Number of Spills/Releases Recorded in Last Year

[ ] Summary of Spill/Release Records (Description, Quantity, Cause, Response)

--- REPORTING AND NOTIFICATION ---

[ ] Reportable Quantity (RQ) Exceeded? (Yes, No, Unknown)

[ ] Description of Spill Event (if applicable)

[ ] Estimated Quantity of Oil Spilled (gallons)

[ ] Date of Spill/Release

[ ] Time of Spill/Release

[ ] Notified Regulatory Agencies? (Yes, No, Not Required)

[ ] Names and Contact Information of Agencies Notified (if applicable)

[ ] Internal Notification Completed? (Yes, No)

[ ] Supporting Documentation (Photos, Reports, etc.)

--- SECURITY ---

[ ] Perimeter Security Type (Fencing, Natural Barriers, Security Personnel, Combination)

[ ] Access Control Measures (Keycard Access, Security Guards, Visitor Log, Perimeter Lighting, CCTV Surveillance)

[ ] Number of Security Personnel (if applicable)

[ ] Last Security System Inspection Date

[ ] Description of Security Personnel Training (if applicable)

[ ] Security System Inspection Report

[ ] Visitor Access Protocol? (Yes, No)

[ ] Location of Security System Control Panel

--- END OF TEMPLATE ---

Transform this text into a digital, automated, and trackable mobile app!

Visit: https://checklistguro.com/templates/manufacturing/spill-prevention-control-and-countermeasure-spcc-plan-checklist

(Click "Install Template" to launch your digital inspection tool immediately)