SWIMMING POOL WATER QUALITY CHECKLIST

Created by ChecklistGuro (https://checklistguro.com)

--- DAILY VISUAL INSPECTION ---

[ ] Overall Water Clarity

[ ] Description of any unusual appearance (e.g., cloudiness, discoloration)

[ ] Presence of Debris (Leaves, Insects, Dirt/Dust, Hair, Other (Specify in LONG_TEXT))

[ ] Estimated Debris Quantity (Scale of 1-5, 1=Minimal, 5=Significant)

[ ] Note any visible algae or slime on pool surfaces

[ ] Waterline Condition (Clean, Slight Discoloration, Significant Discoloration, Algae Present)

[ ] Any unusual odors detected?

--- WATER CHEMISTRY TESTING (MORNING) ---

[ ] Free Chlorine (ppm)

[ ] Combined Chlorine (ppm)

[ ] pH Level

[ ] Total Alkalinity (ppm)

[ ] Calcium Hardness (ppm)

[ ] Cyanuric Acid (ppm)

[ ] Water Clarity (Appearance) (Crystal Clear, Slightly Hazy, Hazy, Murky)

[ ] Time of Test

[ ] Notes/Observations (e.g., unusual readings, odor)

--- WATER CHEMISTRY TESTING (EVENING) ---

[ ] Free Chlorine (ppm)

[ ] Combined Chlorine (ppm)

[ ] pH Level

[ ] Alkalinity (ppm)

[ ] Calcium Hardness (ppm)

[ ] Cyanuric Acid (ppm)

[ ] Notes/Observations (e.g., unusual color, odor)

[ ] Water Appearance (Clear, Slightly Cloudy, Cloudy, Milky)

--- EQUIPMENT FUNCTIONALITY ---

[ ] Filter Pressure (PSI)

[ ] Pump Flow Rate (GPM)

[ ] Pump Operation Status (Operating Normally, Humming/Noisy, Not Operating)

[ ] Heater Operation Status (If Applicable) (Operating Normally, Humming/Noisy, Not Operating, N/A (No Heater))

[ ] Automatic Chemical Feeder Status (If Applicable) (Operating Normally, Malfunctioning, N/A (No Feeder))

[ ] Notes on Equipment Functionality

[ ] Last Filter Backwash Date

--- ALGAE PREVENTION & CONTROL ---

[ ] Phytoplankton Count (cells/mL)

[ ] Algae Appearance (Visual) (Clear, Slight Green Tint, Green/Brown Discoloration, Slime/Scum Present, Unusual Growth Observed)

[ ] Detailed Observation Notes (e.g., location of growth, type of algae suspected)

[ ] Algaecide Application Status (Not Applied, Applied - Dosage Per Protocol, Applied - Increased Dosage (Reason:), Applied - Reduced Dosage (Reason:))

[ ] Algaecide Dosage (oz or mL)

[ ] Date of Last Algaecide Application

[ ] Areas of Potential Algae Growth (Pool Walls, Pool Floor, Steps/Ladder, Jets/Returns, Skimmer Basket, Around Tile Grout)

--- RECORD KEEPING & DOCUMENTATION ---

[ ] Date of Inspection

[ ] Time of Inspection

[ ] Inspector Initials/Employee ID

[ ] Summary of Findings & Observations

[ ] Attached Test Results (PDF/Image)

[ ] Corrective Actions Taken (if any) (None, Chemical Adjustment, Filter Cleaning, Equipment Repair, Other)

[ ] Details of Corrective Actions (if applicable)

[ ] Next Inspection Scheduled? (Yes, No)

[ ] Date of Next Inspection (if applicable)

--- END OF TEMPLATE ---

Transform this text into a digital, automated, and trackable mobile app!

Visit: https://checklistguro.com/templates/facility-management/swimming-pool-water-quality-checklist

(Click "Install Template" to launch your digital inspection tool immediately)