SWIMMING POOL WATER QUALITY CHECKLIST

Created by ChecklistGuro (https://checklistguro.com)

--- DAILY VISUAL INSPECTION ---
[ ] Overall Water Clarity
[ ] Description of any unusual appearance (e.g., cloudiness, discoloration)
[ ] Presence of Debris (Leaves, Insects, Dirt/Dust, Hair, Other (Specify in LONG_TEXT))
[ ] Estimated Debris Quantity (Scale of 1-5, 1=Minimal, 5=Significant)
[ ] Note any visible algae or slime on pool surfaces
[ ] Waterline Condition (Clean, Slight Discoloration, Significant Discoloration, Algae Present)
[ ] Any unusual odors detected?

--- WATER CHEMISTRY TESTING (MORNING) ---
[ ] Free Chlorine (ppm)
[ ] Combined Chlorine (ppm)
[ ] pH Level
[ ] Total Alkalinity (ppm)
[ ] Calcium Hardness (ppm)
[ ] Cyanuric Acid (ppm)
[ ] Water Clarity (Appearance) (Crystal Clear, Slightly Hazy, Hazy, Murky)
[ ] Time of Test
[ ] Notes/Observations (e.g., unusual readings, odor)

--- WATER CHEMISTRY TESTING (EVENING) ---
[ ] Free Chlorine (ppm)
[ ] Combined Chlorine (ppm)
[ ] pH Level
[ ] Alkalinity (ppm)
[ ] Calcium Hardness (ppm)
[ ] Cyanuric Acid (ppm)
[ ] Notes/Observations (e.g., unusual color, odor)
[ ] Water Appearance (Clear, Slightly Cloudy, Cloudy, Milky)

--- EQUIPMENT FUNCTIONALITY ---
[ ] Filter Pressure (PSI)
[ ] Pump Flow Rate (GPM)
[ ] Pump Operation Status (Operating Normally, Humming/Noisy, Not Operating)
[ ] Heater Operation Status (If Applicable) (Operating Normally, Humming/Noisy, Not Operating, N/A (No Heater))
[ ] Automatic Chemical Feeder Status (If Applicable) (Operating Normally, Malfunctioning, N/A (No Feeder))
[ ] Notes on Equipment Functionality
[ ] Last Filter Backwash Date

--- ALGAE PREVENTION & CONTROL ---
[ ] Phytoplankton Count (cells/mL)
[ ] Algae Appearance (Visual) (Clear, Slight Green Tint, Green/Brown Discoloration, Slime/Scum Present, Unusual Growth Observed)
[ ] Detailed Observation Notes (e.g., location of growth, type of algae suspected)
[ ] Algaecide Application Status (Not Applied, Applied - Dosage Per Protocol, Applied - Increased Dosage (Reason:), Applied - Reduced Dosage (Reason:))
[ ] Algaecide Dosage (oz or mL)
[ ] Date of Last Algaecide Application
[ ] Areas of Potential Algae Growth (Pool Walls, Pool Floor, Steps/Ladder, Jets/Returns, Skimmer Basket, Around Tile Grout)

--- RECORD KEEPING & DOCUMENTATION ---
[ ] Date of Inspection
[ ] Time of Inspection
[ ] Inspector Initials/Employee ID
[ ] Summary of Findings & Observations
[ ] Attached Test Results (PDF/Image)
[ ] Corrective Actions Taken (if any) (None, Chemical Adjustment, Filter Cleaning, Equipment Repair, Other)
[ ] Details of Corrective Actions (if applicable)
[ ] Next Inspection Scheduled? (Yes, No)
[ ] Date of Next Inspection (if applicable)

--- END OF TEMPLATE ---
Transform this text into a digital, automated, and trackable mobile app!
Visit: https://checklistguro.com/templates/facility-management/swimming-pool-water-quality-checklist
(Click "Install Template" to launch your digital inspection tool immediately)