SYSTEM FUNCTIONAL TESTING CHECKLIST (MEP SYSTEMS)

Created by ChecklistGuro (https://checklistguro.com)

--- HVAC SYSTEMS - GENERAL ---

[ ] Ambient Temperature (during testing)

[ ] Supply Air Temperature (measured)

[ ] Return Air Temperature (measured)

[ ] System Operating Mode (Heating/Cooling/Auto) (Heating, Cooling, Auto)

[ ] Fan Speed (Low/Med/High) (Low, Medium, High)

[ ] Observations/Comments (during testing)

[ ] Date of Testing

[ ] Time of Testing

--- HVAC SYSTEMS - AIR DISTRIBUTION ---

[ ] AHU Supply Air Temperature Setpoint (Verification)

[ ] AHU Return Air Temperature Differential (Verification)

[ ] Damper Operation - Verify opening/closing sequence (Pass, Fail, Not Applicable)

[ ] Verify Diffuser Airflow Direction Control (Horizontal, Vertical, Adjustable)

[ ] Describe any observed noise issues with air distribution equipment.

[ ] Static Pressure Verification (Supply Air) (Within Tolerance, Outside Tolerance, Not Measured)

[ ] Date of Air Distribution System Functional Test

--- HVAC SYSTEMS - HEATING & COOLING EQUIPMENT ---

[ ] Chiller Entering Water Temperature (EWT) - Measured Value (°F)

[ ] Chiller Leaving Water Temperature (LWT) - Measured Value (°F)

[ ] Boiler Steam Pressure (PSI)

[ ] Furnace Hot Surface Temperature (°F)

[ ] Chiller Operation Mode (Cooling, Heating, Standby)

[ ] Boiler Sequencing - Correct Sequence? (Yes, No, N/A)

[ ] Describe any anomalies observed during testing of heating/cooling equipment.

[ ] Date of Equipment Performance Test

[ ] Time of Equipment Performance Test

--- PLUMBING SYSTEMS - DOMESTIC WATER ---

[ ] Static Water Pressure (PSI)

[ ] Flow Rate at Fixture (GPM)

[ ] Water Temperature (Hot - °F)

[ ] Water Temperature (Cold - °F)

[ ] Hot Water Temperature Setpoint Verified? (Yes, No, N/A)

[ ] Pressure Reducing Valve (PRV) Functioning Correctly? (Yes, No, N/A)

[ ] Observations/Comments (e.g., unusual noises, leaks)

[ ] Date of Test

[ ] Time of Test

--- PLUMBING SYSTEMS - SANITARY & STORM DRAINAGE ---

[ ] Storm Drain Pipe Slope (minimum)

[ ] Drainage Pipe Diameter (verify against design)

[ ] Cleanout Accessibility (Accessible, Obstructed, N/A)

[ ] Venting Type (verify design) (Wet Vent, Dry Vent, Individual Vent, Grouped Vent)

[ ] Observations Regarding Slope/Grade

[ ] Leak Test Performed? (Yes, No, N/A)

[ ] Water Test Pressure (psi)

[ ] Date of Leak Test

--- PLUMBING SYSTEMS - FIRE SUPPRESSION ---

[ ] Sprinkler System Static Water Pressure (PSI)

[ ] Sprinkler System Flow Test (GPM)

[ ] Sprinkler Head Coverage (Adequate?) (Yes, No, Not Applicable)

[ ] Fire Pump Operation (Manual & Automatic) (Pass, Fail, N/A)

[ ] Last Fire Suppression System Inspection Date

[ ] Describe any observed deficiencies during fire suppression system testing

[ ] Backflow Preventer Testing Passed? (Yes, No, N/A)

[ ] Upload Fire Suppression System Test Report

[ ] Fire Pump Discharge Pressure (PSI)

--- ELECTRICAL SYSTEMS - POWER DISTRIBUTION ---

[ ] Main Incoming Voltage (V)

[ ] Main Incoming Current (A)

[ ] Panel Voltage (V)

[ ] Panel Current Capacity (A)

[ ] Panel Grounding Method (Solid Ground, Resistance Ground, Impedance Ground)

[ ] Observations during visual inspection of panels (e.g., labeling, cleanliness)

[ ] Phase Rotation Verification Result (Correct, Incorrect, Not Applicable)

[ ] Date of Last Panel Inspection

[ ] Which Overcurrent Protection Devices Tested? (Circuit Breakers, Fuses, Electronic Fuses)

--- ELECTRICAL SYSTEMS - LIGHTING ---

[ ] Luminaire Level Check: Average Footcandle Reading (Lux)

[ ] Luminaire Level Check: Minimum Footcandle Reading (Lux)

[ ] Emergency Lighting Activation Test: Successful? (Yes, No, Not Applicable)

[ ] Photocell Operation: Correct Function? (Yes, No, Not Applicable)

[ ] Dimming System Functions Checked (Full On, 50% Dim, 25% Dim, Off, Scene 1, Scene 10)

[ ] Lighting Control System Notes (e.g., programming issues)

[ ] Exterior Lighting Operation (Daylight) (Operating as Designed, Not Operating, Needs Adjustment)

[ ] Date of Lighting Survey Performed

[ ] Lighting Survey Photos/Reports

--- ELECTRICAL SYSTEMS - LOW VOLTAGE SYSTEMS ---

[ ] Fire Alarm System - Smoke Detector Functionality (Operational, Needs Adjustment, Defective)

[ ] Access Control System - Card Reader Functionality (Zone 1) (Operational, Needs Adjustment, Defective)

[ ] Security Camera - Frame Rate (FPS)

[ ] Description of any observed anomalies in the CCTV system

[ ] Communication System - Verified Functionality (Select all that apply) (Intercom, PA System, Data Network, Telephone System)

[ ] Last Scheduled Maintenance for Fire Alarm Panel

[ ] Location of Primary Access Control Panel

--- BUILDING AUTOMATION SYSTEM (BAS) INTEGRATION ---

[ ] BAS Server Communication Latency (ms)

[ ] BAS Integration with HVAC System - Status (Successful, Partial, Failed)

[ ] BAS Integration with Plumbing System - Status (Successful, Partial, Failed)

[ ] BAS Integration with Electrical System - Status (Successful, Partial, Failed)

[ ] BAS Points Verified (Select all that apply) (Temperature Sensors, Humidity Sensors, Flow Meters, Pump Status, Valve Positions, Equipment Status)

[ ] Last BAS Software Version Update

[ ] Description of any BAS Integration Issues Encountered

[ ] BAS Configuration File (Optional)

--- COMMISSIONING & PERFORMANCE VERIFICATION ---

[ ] Chilled Water Supply Temperature (Actual)

[ ] Chilled Water Return Temperature (Actual)

[ ] Supply Air Volume (CFM) - AHU-1

[ ] Return Air Static Pressure (inches WC)

[ ] Lighting Control System Operation (Dimming, Scheduling) (Nominal, Above Nominal, Below Nominal, Non-Functional)

[ ] Domestic Hot Water Temperature Setpoint Achieved? (Yes, No)

[ ] Comments on Performance Verification

[ ] Date of Performance Testing

[ ] Time of Performance Testing Start

--- SAFETY & EMERGENCY SYSTEMS ---

[ ] Emergency Generator Fuel Level (Gallons)

[ ] Emergency Lighting Status (Operational, Malfunctioning, Not Tested)

[ ] Last Fire Drill Date

[ ] Emergency Generator Start Time (Simulated)

[ ] Smoke Detector Testing Status (Passed, Failed, Not Tested)

[ ] Observations during Emergency Generator Test

[ ] Fire Suppression System Valve Status (Open, Closed, Not Tested)

[ ] Location of Emergency Power Switchgear

--- END OF TEMPLATE ---

Transform this text into a digital, automated, and trackable mobile app!

Visit: https://checklistguro.com/templates/construction/system-functional-testing-checklist-mep-systems

(Click "Install Template" to launch your digital inspection tool immediately)