## 6a390e475a1e7cf130c0ca35
Label	Value	Notes

Created by ChecklistGuro (https://checklistguro.com)

HVAC Systems - General (STEP)
Ambient Temperature (during testing) (NUMBER)
Supply Air Temperature (measured) (NUMBER)
Return Air Temperature (measured) (NUMBER)
System Operating Mode (Heating/Cooling/Auto) (SELECTION options: Heating, Cooling, Auto)
Fan Speed (Low/Med/High) (SELECTION options: Low, Medium, High)
Observations/Comments (during testing) (TEXT)
Date of Testing (DATE)
Time of Testing (DATE)

HVAC Systems - Air Distribution (STEP)
AHU Supply Air Temperature Setpoint (Verification) (NUMBER)
AHU Return Air Temperature Differential (Verification) (NUMBER)
Damper Operation - Verify opening/closing sequence (SELECTION options: Pass, Fail, Not Applicable)
Verify Diffuser Airflow Direction Control (SELECTION options: Horizontal, Vertical, Adjustable)
Describe any observed noise issues with air distribution equipment. (TEXT)
Static Pressure Verification (Supply Air) (SELECTION options: Within Tolerance, Outside Tolerance, Not Measured)
Date of Air Distribution System Functional Test (DATE)

HVAC Systems - Heating & Cooling Equipment (STEP)
Chiller Entering Water Temperature (EWT) - Measured Value (°F) (NUMBER)
Chiller Leaving Water Temperature (LWT) - Measured Value (°F) (NUMBER)
Boiler Steam Pressure (PSI) (NUMBER)
Furnace Hot Surface Temperature (°F) (NUMBER)
Chiller Operation Mode (SELECTION options: Cooling, Heating, Standby)
Boiler Sequencing - Correct Sequence? (SELECTION options: Yes, No, N/A)
Describe any anomalies observed during testing of heating/cooling equipment. (TEXT)
Date of Equipment Performance Test (DATE)
Time of Equipment Performance Test (DATE)

Plumbing Systems - Domestic Water (STEP)
Static Water Pressure (PSI) (NUMBER)
Flow Rate at Fixture (GPM) (NUMBER)
Water Temperature (Hot - °F) (NUMBER)
Water Temperature (Cold - °F) (NUMBER)
Hot Water Temperature Setpoint Verified? (SELECTION options: Yes, No, N/A)
Pressure Reducing Valve (PRV) Functioning Correctly? (SELECTION options: Yes, No, N/A)
Observations/Comments (e.g., unusual noises, leaks) (TEXT)
Date of Test (DATE)
Time of Test (DATE)

Plumbing Systems - Sanitary & Storm Drainage (STEP)
Storm Drain Pipe Slope (minimum) (NUMBER)
Drainage Pipe Diameter (verify against design) (NUMBER)
Cleanout Accessibility (SELECTION options: Accessible, Obstructed, N/A)
Venting Type (verify design) (SELECTION options: Wet Vent, Dry Vent, Individual Vent, Grouped Vent)
Observations Regarding Slope/Grade (TEXT)
Leak Test Performed? (SELECTION options: Yes, No, N/A)
Water Test Pressure (psi) (NUMBER)
Date of Leak Test (DATE)

Plumbing Systems - Fire Suppression (STEP)
Sprinkler System Static Water Pressure (PSI) (NUMBER)
Sprinkler System Flow Test (GPM) (NUMBER)
Sprinkler Head Coverage (Adequate?) (SELECTION options: Yes, No, Not Applicable)
Fire Pump Operation (Manual & Automatic) (SELECTION options: Pass, Fail, N/A)
Last Fire Suppression System Inspection Date (DATE)
Describe any observed deficiencies during fire suppression system testing (TEXT)
Backflow Preventer Testing Passed? (SELECTION options: Yes, No, N/A)
Upload Fire Suppression System Test Report (UPLOAD)
Fire Pump Discharge Pressure (PSI) (NUMBER)

Electrical Systems - Power Distribution (STEP)
Main Incoming Voltage (V) (NUMBER)
Main Incoming Current (A) (NUMBER)
Panel Voltage (V) (NUMBER)
Panel Current Capacity (A) (NUMBER)
Panel Grounding Method (SELECTION options: Solid Ground, Resistance Ground, Impedance Ground)
Observations during visual inspection of panels (e.g., labeling, cleanliness) (TEXT)
Phase Rotation Verification Result (SELECTION options: Correct, Incorrect, Not Applicable)
Date of Last Panel Inspection (DATE)
Which Overcurrent Protection Devices Tested? (SELECTION options: Circuit Breakers, Fuses, Electronic Fuses)

Electrical Systems - Lighting (STEP)
Luminaire Level Check: Average Footcandle Reading (Lux) (NUMBER)
Luminaire Level Check: Minimum Footcandle Reading (Lux) (NUMBER)
Emergency Lighting Activation Test: Successful? (SELECTION options: Yes, No, Not Applicable)
Photocell Operation: Correct Function? (SELECTION options: Yes, No, Not Applicable)
Dimming System Functions Checked (SELECTION options: Full On, 50% Dim, 25% Dim, Off, Scene 1, Scene 10)
Lighting Control System Notes (e.g., programming issues) (TEXT)
Exterior Lighting Operation (Daylight) (SELECTION options: Operating as Designed, Not Operating, Needs Adjustment)
Date of Lighting Survey Performed (DATE)
Lighting Survey Photos/Reports (UPLOAD)

Electrical Systems - Low Voltage Systems (STEP)
Fire Alarm System - Smoke Detector Functionality (SELECTION options: Operational, Needs Adjustment, Defective)
Access Control System - Card Reader Functionality (Zone 1) (SELECTION options: Operational, Needs Adjustment, Defective)
Security Camera - Frame Rate (FPS) (NUMBER)
Description of any observed anomalies in the CCTV system (TEXT)
Communication System - Verified Functionality (Select all that apply) (SELECTION options: Intercom, PA System, Data Network, Telephone System)
Last Scheduled Maintenance for Fire Alarm Panel (DATE)
Location of Primary Access Control Panel (LOCATION)

Building Automation System (BAS) Integration (STEP)
BAS Server Communication Latency (ms) (NUMBER)
BAS Integration with HVAC System - Status (SELECTION options: Successful, Partial, Failed)
BAS Integration with Plumbing System - Status (SELECTION options: Successful, Partial, Failed)
BAS Integration with Electrical System - Status (SELECTION options: Successful, Partial, Failed)
BAS Points Verified (Select all that apply) (SELECTION options: Temperature Sensors, Humidity Sensors, Flow Meters, Pump Status, Valve Positions, Equipment Status)
Last BAS Software Version Update (DATE)
Description of any BAS Integration Issues Encountered (TEXT)
BAS Configuration File (Optional) (UPLOAD)

Commissioning & Performance Verification (STEP)
Chilled Water Supply Temperature (Actual) (NUMBER)
Chilled Water Return Temperature (Actual) (NUMBER)
Supply Air Volume (CFM) - AHU-1 (NUMBER)
Return Air Static Pressure (inches WC) (NUMBER)
Lighting Control System Operation (Dimming, Scheduling) (SELECTION options: Nominal, Above Nominal, Below Nominal, Non-Functional)
Domestic Hot Water Temperature Setpoint Achieved? (SELECTION options: Yes, No)
Comments on Performance Verification (TEXT)
Date of Performance Testing (DATE)
Time of Performance Testing Start (DATE)

Safety & Emergency Systems (STEP)
Emergency Generator Fuel Level (Gallons) (NUMBER)
Emergency Lighting Status (SELECTION options: Operational, Malfunctioning, Not Tested)
Last Fire Drill Date (DATE)
Emergency Generator Start Time (Simulated) (DATE)
Smoke Detector Testing Status (SELECTION options: Passed, Failed, Not Tested)
Observations during Emergency Generator Test (TEXT)
Fire Suppression System Valve Status (SELECTION options: Open, Closed, Not Tested)
Location of Emergency Power Switchgear (LOCATION)