TRAM SWITCHGEAR AND INTERLOCKING SYSTEM INSPECTION CHECKLIST TEMPLATE

Created by ChecklistGuro (https://checklistguro.com)

--- VISUAL INSPECTION ---
[ ] Overall Condition (brief description)
[ ] Temperature (Â°C)
[ ] Presence of Corrosion (None, Minor, Moderate, Severe)
[ ] Evidence of Water Intrusion?
[ ] Detailed observations (e.g., specific areas of concern)
[ ] Cable and Wiring Condition (Good, Fair, Poor)
[ ] Upload photos of any visual defects

--- COMPONENT INTEGRITY ---
[ ] Contact Resistance (Ohms)
[ ] Insulation Resistance (Megohms)
[ ] Actuator Condition (Good, Fair, Poor)
[ ] Spring Condition (if applicable) (Good, Fair, Poor)
[ ] Detailed Description of any Visible Damage/Corrosion
[ ] Upload Photo of Component (if damaged)
[ ] Lubrication Status (Lubricated, Not Lubricated)
[ ] Last Lubrication Date

--- MECHANICAL OPERATION ---
[ ] Switch Throw Time (seconds)
[ ] Locking Mechanism Condition (Smooth Operation, Binding, Visible Wear, Noisy Operation)
[ ] Notes on Gearbox Lubrication
[ ] Last Lubrication Date
[ ] Description of Any Unusual Noises
[ ] Movement Alignment (Aligned, Slightly Misaligned, Significantly Misaligned)

--- ELECTRICAL TESTING ---
[ ] Insulation Resistance (Megohms)
[ ] Contact Resistance (Milliohms)
[ ] Voltage Drop at Contact (Volts)
[ ] Circuit Breaker Trip Current (Amps)
[ ] Relay Functionality Check (Pass/Fail) (Pass, Fail)
[ ] Grounding Continuity Test (Pass/Fail) (Pass, Fail)
[ ] Last Electrical Test Date

--- CONTROL SYSTEM FUNCTIONALITY ---
[ ] Interlocking Sequence Execution Time (seconds)
[ ] Sequence 1 Status (Normal/Fault) (Normal, Fault)
[ ] Sequence 2 Status (Complete/Incomplete) (Complete, Incomplete)
[ ] Time of Last Sequence Execution
[ ] Error Codes Present (if any) (Error Code 1, Error Code 2, Error Code 3)
[ ] Detailed Observations During Sequence Testing

--- AUXILIARY SYSTEMS ---
[ ] Power Supply Voltage (V)
[ ] Power Supply Current (A)
[ ] Power Supply Status (Operational, Faulted, Standby)
[ ] Grounding System Condition (Good, Corrosion Present, Loose Connection)
[ ] Last Power Supply Replacement Date

--- SAFETY DEVICES ---
[ ] Emergency Stop Button Pressure (N)
[ ] Emergency Stop Button Functionality (Working Correctly, Needs Repair)
[ ] Safety Light Curtain Status (Operational, Malfunctioning)
[ ] Last Safety Device Inspection Date
[ ] Interlock System Verification (Verified, Not Verified)
[ ] Any observations regarding safety devices

--- DOCUMENTATION & RECORDS ---
[ ] Date of Last Inspection
[ ] Inspection Reference Number
[ ] Summary of Previous Inspection Findings
[ ] Attach previous inspection report
[ ] Inspection Type (Routine/Special) (Routine, Special)
[ ] Technician Comments on Documentation
[ ] Date of Last Diagram Update

--- ENVIRONMENTAL CONDITIONS ---
[ ] Ambient Temperature (Â°C)
[ ] Relative Humidity (%)
[ ] Dust/Dirt Level (Scale 1-5)
[ ] Evidence of Water Ingress? (Yes, No, Uncertain)
[ ] Presence of Condensation? (Yes, No, Uncertain)
[ ] Detailed Observations Regarding Environmental Conditions

--- END OF TEMPLATE ---
Transform this text into a digital, automated, and trackable mobile app!
Visit: https://checklistguro.com/templates/public-transport-management/tram-switchgear-and-interlocking-system-inspection-checklist-template
(Click "Install Template" to launch your digital inspection tool immediately)