TRANSFORMER AND ELECTRICAL SUBSTATION MAINTENANCE CHECKLIST 2026

Created by ChecklistGuro (https://checklistguro.com)

--- VISUAL INSPECTION AND PHYSICAL INTEGRITY ---

[ ] Inspection Date

[ ] Substation ID/Location

[ ] Transformer Exterior Condition (Good, Fair, Poor, Critical)

[ ] Visible Damage Identified (Corrosion, Physical Cracks, Debris/Vegetation, Structural Deformation, None)

[ ] Detailed Observations of Physical Integrity

[ ] Photo Documentation of Transformer Exterior

[ ] Inspector Signature

--- OIL AND INSULATION MONITORING ---

[ ] Inspection Date

[ ] Transformer Oil Temperature (°C)

[ ] Moisture Content (PPM)

[ ] Oil Color/Clarity Status (Clear/Bright, Dark/Discolored, Cloudy/Turbid)

[ ] DGA (Dissolved Gas Analysis) Observations

[ ] Upload Oil Lab Report

--- COOLING SYSTEM AND RADIATOR INSPECTION ---

[ ] Radiator Fin Condition (Clean, Debris/Dust Accumulation, Damaged/Bent, Corroded)

[ ] Cooling Fan Operational Status

[ ] Measured Oil Temperature (°C)

[ ] Detected Leaks (Radiator Fins, Oil Valve, Pump Seal, None Detected)

[ ] Inspection Notes and Observations

[ ] Upload Radiator Photos

--- BUSHINGS AND INSULATORS ASSESSMENT ---

[ ] Inspection Date

[ ] Bushing Visual Condition (Good, Fair (Minor Contamination), Poor (Cracks/Damage Detected), Critical (Requires Immediate Repair))

[ ] Detected Anomalies (Surface Cracks, Oil Leaks at Base, Dust/Debris Accumulation, Discoloration/Carbon Tracking, None)

[ ] Detailed Observations

[ ] Upload Inspection Photos

[ ] Inspector Signature

--- TAP CHANGER AND CONTROL MECHANISM TESTING ---

[ ] Tap Changer Operational Status (Fully Functional, Operational with Issues, Malfunctioning, Non-Functional)

[ ] Tap Position Reading

[ ] Operational Observations

[ ] Maintenance Log/Report Upload

[ ] Technician Verification

--- BUSHINGS AND TERMINAL CONNECTIONS ---

[ ] Inspection Date

[ ] Bushing Condition Status (Good, Fair - Requires Monitoring, Poor - Immediate Action Required, Critical - Shutdown Required)

[ ] Observed Issues (Surface Cracks, Oil Leaks, Corrosion/Oxidation, Dust/Contamination Build-up, Loose Connections)

[ ] Detailed Observations and Findings

[ ] Upload Inspection Photos

[ ] Inspector Signature

--- PROTECTIVE RELAYS AND CIRCUIT BREAKER TESTING ---

[ ] Inspection Date

[ ] Circuit Breaker Status (Operational, Malfunction Detected, Requires Immediate Repair)

[ ] Relay Trip Time (Milliseconds)

[ ] Tests Performed (Contact Resistance Test, Insulation Resistance Test, Timing Test, Secondary Injection Test)

[ ] Maintenance Findings and Observations

[ ] Upload Test Report/Logs

[ ] Technician Signature

--- GROUNDING AND BONDING VERIFICATION ---

[ ] Inspection Date

[ ] Substation/Transformer ID

[ ] Grounding Grid Visual Integrity (Intact, Corroded, Damaged/Broken)

[ ] Measured Ground Resistance (Ohms)

[ ] Inspected Components (Ground Rods, Equipment Grounding Conductors, Bonding Jumpers, Grounding Busbars)

[ ] Observations and Anomalies

[ ] Technician Signature

--- CONTAINARY AND ENVIRONMENTAL SAFETY ---

[ ] Containment Pit Integrity Status (Intact and Clear, Cracked/Damaged, Debris Present, Leaking/Flooded)

[ ] Observed Oil Leaks

[ ] Environmental Hazards Identified (Debris/Vegetation Overgrowth, Soil Contamination, Drainage Blockage, Chemical Spillage)

[ ] Containment Area Photos

[ ] Corrective Actions Required

[ ] Inspector Verification

--- MONITORING SYSTEMS AND INSTRUMENTATION ---

[ ] Inspection Date

[ ] Current Oil Temperature (°C)

[ ] Transformer Pressure Reading (PSI)

[ ] DGA (Dissolved Gas Analysis) Status (Normal, Warning - Action Required, Critical - Immediate Maintenance Needed)

[ ] Anomalies Detected in Monitoring Sensors

[ ] Upload Recent DGA Lab Report

[ ] Technician Verification

--- END OF TEMPLATE ---

Transform this text into a digital, automated, and trackable mobile app!

Visit: https://checklistguro.com/templates/maintenance-management/transformer-and-electrical-substation-maintenance-checklist-2026

(Click "Install Template" to launch your digital inspection tool immediately)