## Sheet1
Label | Value | Notes
Created by checklistguro.com
Visual Inspection (STEP)
Battery Enclosure Condition (1-5, 1=Excellent, 5=Poor) (NUMBER)
Evidence of Corrosion? (SELECTION options: Yes, No, Unsure)
Battery Swelling/Bulging? (SELECTION options: Yes, No, Unsure)
Detailed notes on enclosure condition (e.g., scratches, dents, leaks) (TEXT)
Upload photos of battery enclosure (UPLOAD)
Evidence of Liquid Spillage? (SELECTION options: Yes, No, Unsure)
Number of Batteries Visually Damaged (NUMBER)
Battery Voltage and Temperature (STEP)
Battery 1 Voltage (V) (NUMBER)
Battery 2 Voltage (V) (NUMBER)
Battery 3 Voltage (V) (NUMBER)
Battery 4 Voltage (V) (NUMBER)
Battery 5 Voltage (V) (NUMBER)
Battery 6 Voltage (V) (NUMBER)
Battery 1 Temperature (°C) (NUMBER)
Battery 2 Temperature (°C) (NUMBER)
Notes on Voltage/Temperature Readings (TEXT)
Battery Capacity Testing (STEP)
Battery Capacity Test Duration (minutes) (NUMBER)
Initial Voltage (V) during test (NUMBER)
Final Voltage (V) after test (NUMBER)
Peak Discharge Current (A) during test (NUMBER)
Discharge Capacity Achieved (%) (NUMBER)
Test Result (SELECTION options: Pass - Meets Specifications, Marginal - Below Specifications, Fail - Significantly Below Specifications)
Notes/Observations during Capacity Test (TEXT)
Date of Capacity Test (DATE)
UPS System Logs & Events (STEP)
Review UPS system logs for recent error messages. (TEXT)
Note any warnings related to battery voltage or temperature. (TEXT)
Record number of battery-related alarms in last 24 hours. (NUMBER)
Document any instances of UPS transferring to battery power (utility outage) and duration. (TEXT)
Indicate if firmware version is current (refer to manufacturer recommendations). (SELECTION options: Yes, No, N/A)
Note any recurring error codes or patterns in the logs. (TEXT)
Maintenance Records Review (STEP)
Last Battery Replacement Date (DATE)
Battery Age (in months) (NUMBER)
Summary of Previous Battery Testing Results (TEXT)
Previous Battery Type (SELECTION options: Lead-Acid, Lithium-Ion, Other)
Previous Battery Capacity (kVAh) (NUMBER)
Date of Last Battery Maintenance (e.g., cleaning, equalization) (DATE)
Notes/Observations from Previous Inspections (TEXT)
Environmental Conditions (STEP)
Ambient Temperature (°C) (NUMBER)
Battery Cabinet Temperature (°C) (NUMBER)
Relative Humidity (%) (NUMBER)
Ventilation Adequacy (SELECTION options: Excellent, Good, Fair, Poor)
Dust/Debris Accumulation (SELECTION options: None, Minor, Moderate, Significant)
Notes on Environmental Conditions (TEXT)
Connection & Wiring Integrity (STEP)
Battery Terminal Voltage (each battery) (NUMBER)
Terminal Condition (Clean/Corroded/Damaged) (SELECTION options: Clean, Slight Corrosion, Moderate Corrosion, Significant Corrosion, Damage Present)
Wiring Condition (Intact/Frayed/Damaged) (SELECTION options: Intact, Minor Fraying, Moderate Damage, Significant Damage)
Torque on Battery Terminal Connections (Nm/lb-in) (NUMBER)
Connection Security (Tight/Loose/Questionable) (SELECTION options: Tight, Slightly Loose, Loose)
Notes on Wiring/Connections (TEXT)