WAREHOUSE FIRE SAFETY EQUIPMENT INSPECTION

Created by ChecklistGuro (https://checklistguro.com)

--- FIRE ALARM SYSTEM ---

[ ] Panel Status - Battery Voltage (V)

[ ] Panel Status - Overall Condition (Good, Fair, Poor, Needs Repair)

[ ] Number of Smoke Detectors Present

[ ] Number of Heat Detectors Present

[ ] Smoke Detector Functionality - Testing Performed? (Yes, No)

[ ] Heat Detector Functionality - Testing Performed? (Yes, No)

[ ] Notes on Alarm Panel or Detector Condition

[ ] Last System Test Date

--- FIRE EXTINGUISHERS ---

[ ] Fire Extinguisher 1 Location

[ ] Fire Extinguisher 1 Pressure (PSI)

[ ] Fire Extinguisher 1 Condition (Good, Damaged, Corroded, Obstructed)

[ ] Fire Extinguisher 1 Inspection Tag Present & Up-to-Date? (Yes, No)

[ ] Fire Extinguisher 2 Weight (lbs)

[ ] Fire Extinguisher 3 Type (ABC, CO2, Class K, Dry Chemical, Other)

--- SPRINKLER SYSTEM ---

[ ] Sprinkler Head Inspection - Total Heads

[ ] Sprinkler Head Inspection - Corroded Heads Found

[ ] Sprinkler Head Inspection - Damaged Heads Found

[ ] Sprinkler Head Inspection - Obstructed Heads Found

[ ] Sprinkler Head Coverage (Adequate, Insufficient, Needs Further Assessment)

[ ] Pipe Condition (Good, Minor Corrosion, Significant Corrosion, Leaks Present)

[ ] Last Sprinkler System Hydrostatic Test Date

[ ] Notes on Sprinkler System Condition

--- EMERGENCY LIGHTING ---

[ ] Location of Emergency Lighting Fixture 1

[ ] Emergency Lighting Fixture 1 Functionality (Functioning Correctly, Flickering, Not Functioning, Low Intensity)

[ ] Emergency Lighting Fixture 1 Lumens (if measurable)

[ ] Emergency Lighting Fixture 1 Battery Condition (if accessible) (Nominal, Low, Unknown)

[ ] Date of Last Battery Replacement (if applicable)

[ ] Notes on Emergency Lighting Fixture 1

[ ] Emergency Lighting Fixture 2 Functionality (Functioning Correctly, Flickering, Not Functioning, Low Intensity)

--- EXIT ROUTES & SIGNAGE ---

[ ] Are exit routes clear of obstructions? (Yes, No, Partially)

[ ] Condition of Exit Route Lighting (Adequate, Dim, Malfunctioning, Not Present)

[ ] Number of obstructed exit routes identified

[ ] Are Exit Signs Illuminated and Visible? (Yes, No, Some are not)

[ ] Which exit routes require signage improvements? (North Exit, South Exit, East Exit, West Exit, None)

[ ] Details of any observed deficiencies in exit route signage or lighting

[ ] Are emergency exit doors easily opened from the inside? (Yes, No, Not Tested)

--- FIRE DOORS & SHUTTERS ---

[ ] Door/Shutter Condition - General (Excellent, Good, Fair, Poor, N/A)

[ ] Self-Closing Function (Functions Correctly, Requires Adjustment, Not Functioning, N/A - Not Applicable)

[ ] Door/Shutter Labeling (Correctly Labeled, Labeling Missing/Obscured, N/A - No Label Required)

[ ] Clearance Gap (Top & Bottom) - (inches)

[ ] Additional Notes/Observations

[ ] Door/Shutter Free from Obstruction? (Yes, No)

--- FIRE HYDRANTS & WATER SUPPLY ---

[ ] Hydrant Number (if multiple)

[ ] Hydrant Location (GPS coordinates)

[ ] Water Pressure (PSI)

[ ] Flow Rate (GPM)

[ ] Hydrant Condition (Good, Fair, Poor, Needs Repair)

[ ] Comments/Observations

[ ] Last Water System Flush Date

[ ] Hydrant Accessibility (Clear and Accessible, Partially Obstructed, Obstructed - Needs Clearing)

--- SMOKE AND HEAT DETECTORS (STANDALONE) ---

[ ] Detector Functionality Check - Smoke (Functional - Audible Alarm, Functional - Visual Indicator, Defective - No Response, Defective - False Alarm)

[ ] Detector Functionality Check - Heat (Functional - Audible Alarm, Functional - Visual Indicator, Defective - No Response, Defective - False Alarm)

[ ] Detector Temperature Reading (°C)

[ ] Notes on Detector Performance/Observations

[ ] Detector Location Verification (Correct Location, Incorrect Location - Relocated, Incorrect Location - Needs Adjustment)

[ ] Last Maintenance Date

--- END OF TEMPLATE ---

Transform this text into a digital, automated, and trackable mobile app!

Visit: https://checklistguro.com/templates/logistics/warehouse-fire-safety-equipment-inspection

(Click "Install Template" to launch your digital inspection tool immediately)