## 6a390ede5a1e7cf130c0cc59
Label	Value	Notes

Created by ChecklistGuro (https://checklistguro.com)

Fire Alarm System (STEP)
Panel Status - Battery Voltage (V) (NUMBER)
Panel Status - Overall Condition (SELECTION options: Good, Fair, Poor, Needs Repair)
Number of Smoke Detectors Present (NUMBER)
Number of Heat Detectors Present (NUMBER)
Smoke Detector Functionality - Testing Performed? (SELECTION options: Yes, No)
Heat Detector Functionality - Testing Performed? (SELECTION options: Yes, No)
Notes on Alarm Panel or Detector Condition (TEXT)
Last System Test Date (DATE)

Fire Extinguishers (STEP)
Fire Extinguisher 1 Location (LOCATION)
Fire Extinguisher 1 Pressure (PSI) (NUMBER)
Fire Extinguisher 1 Condition (SELECTION options: Good, Damaged, Corroded, Obstructed)
Fire Extinguisher 1 Inspection Tag Present & Up-to-Date? (SELECTION options: Yes, No)
Fire Extinguisher 2 Weight (lbs) (NUMBER)
Fire Extinguisher 3 Type (SELECTION options: ABC, CO2, Class K, Dry Chemical, Other)

Sprinkler System (STEP)
Sprinkler Head Inspection - Total Heads (NUMBER)
Sprinkler Head Inspection - Corroded Heads Found (NUMBER)
Sprinkler Head Inspection - Damaged Heads Found (NUMBER)
Sprinkler Head Inspection - Obstructed Heads Found (NUMBER)
Sprinkler Head Coverage (SELECTION options: Adequate, Insufficient, Needs Further Assessment)
Pipe Condition (SELECTION options: Good, Minor Corrosion, Significant Corrosion, Leaks Present)
Last Sprinkler System Hydrostatic Test Date (DATE)
Notes on Sprinkler System Condition (TEXT)

Emergency Lighting (STEP)
Location of Emergency Lighting Fixture 1 (LOCATION)
Emergency Lighting Fixture 1 Functionality (SELECTION options: Functioning Correctly, Flickering, Not Functioning, Low Intensity)
Emergency Lighting Fixture 1 Lumens (if measurable) (NUMBER)
Emergency Lighting Fixture 1 Battery Condition (if accessible) (SELECTION options: Nominal, Low, Unknown)
Date of Last Battery Replacement (if applicable) (DATE)
Notes on Emergency Lighting Fixture 1 (TEXT)
Emergency Lighting Fixture 2 Functionality (SELECTION options: Functioning Correctly, Flickering, Not Functioning, Low Intensity)

Exit Routes & Signage (STEP)
Are exit routes clear of obstructions? (SELECTION options: Yes, No, Partially)
Condition of Exit Route Lighting (SELECTION options: Adequate, Dim, Malfunctioning, Not Present)
Number of obstructed exit routes identified (NUMBER)
Are Exit Signs Illuminated and Visible? (SELECTION options: Yes, No, Some are not)
Which exit routes require signage improvements? (SELECTION options: North Exit, South Exit, East Exit, West Exit, None)
Details of any observed deficiencies in exit route signage or lighting (TEXT)
Are emergency exit doors easily opened from the inside? (SELECTION options: Yes, No, Not Tested)

Fire Doors & Shutters (STEP)
Door/Shutter Condition - General (SELECTION options: Excellent, Good, Fair, Poor, N/A)
Self-Closing Function (SELECTION options: Functions Correctly, Requires Adjustment, Not Functioning, N/A - Not Applicable)
Door/Shutter Labeling (SELECTION options: Correctly Labeled, Labeling Missing/Obscured, N/A - No Label Required)
Clearance Gap (Top & Bottom) - (inches) (NUMBER)
Additional Notes/Observations (TEXT)
Door/Shutter Free from Obstruction? (SELECTION options: Yes, No)

Fire Hydrants & Water Supply (STEP)
Hydrant Number (if multiple) (NUMBER)
Hydrant Location (GPS coordinates) (LOCATION)
Water Pressure (PSI) (NUMBER)
Flow Rate (GPM) (NUMBER)
Hydrant Condition (SELECTION options: Good, Fair, Poor, Needs Repair)
Comments/Observations (TEXT)
Last Water System Flush Date (DATE)
Hydrant Accessibility (SELECTION options: Clear and Accessible, Partially Obstructed, Obstructed - Needs Clearing)

Smoke and Heat Detectors (Standalone) (STEP)
Detector Functionality Check - Smoke (SELECTION options: Functional - Audible Alarm, Functional - Visual Indicator, Defective - No Response, Defective - False Alarm)
Detector Functionality Check - Heat (SELECTION options: Functional - Audible Alarm, Functional - Visual Indicator, Defective - No Response, Defective - False Alarm)
Detector Temperature Reading (°C) (NUMBER)
Notes on Detector Performance/Observations (TEXT)
Detector Location Verification (SELECTION options: Correct Location, Incorrect Location - Relocated, Incorrect Location - Needs Adjustment)
Last Maintenance Date (DATE)