WAREHOUSE FIRE SAFETY EQUIPMENT INSPECTION

Created by ChecklistGuro (https://checklistguro.com)

--- FIRE ALARM SYSTEM ---
[ ] Panel Status - Battery Voltage (V)
[ ] Panel Status - Overall Condition (Good, Fair, Poor, Needs Repair)
[ ] Number of Smoke Detectors Present
[ ] Number of Heat Detectors Present
[ ] Smoke Detector Functionality - Testing Performed? (Yes, No)
[ ] Heat Detector Functionality - Testing Performed? (Yes, No)
[ ] Notes on Alarm Panel or Detector Condition
[ ] Last System Test Date

--- FIRE EXTINGUISHERS ---
[ ] Fire Extinguisher 1 Location
[ ] Fire Extinguisher 1 Pressure (PSI)
[ ] Fire Extinguisher 1 Condition (Good, Damaged, Corroded, Obstructed)
[ ] Fire Extinguisher 1 Inspection Tag Present & Up-to-Date? (Yes, No)
[ ] Fire Extinguisher 2 Weight (lbs)
[ ] Fire Extinguisher 3 Type (ABC, CO2, Class K, Dry Chemical, Other)

--- SPRINKLER SYSTEM ---
[ ] Sprinkler Head Inspection - Total Heads
[ ] Sprinkler Head Inspection - Corroded Heads Found
[ ] Sprinkler Head Inspection - Damaged Heads Found
[ ] Sprinkler Head Inspection - Obstructed Heads Found
[ ] Sprinkler Head Coverage (Adequate, Insufficient, Needs Further Assessment)
[ ] Pipe Condition (Good, Minor Corrosion, Significant Corrosion, Leaks Present)
[ ] Last Sprinkler System Hydrostatic Test Date
[ ] Notes on Sprinkler System Condition

--- EMERGENCY LIGHTING ---
[ ] Location of Emergency Lighting Fixture 1
[ ] Emergency Lighting Fixture 1 Functionality (Functioning Correctly, Flickering, Not Functioning, Low Intensity)
[ ] Emergency Lighting Fixture 1 Lumens (if measurable)
[ ] Emergency Lighting Fixture 1 Battery Condition (if accessible) (Nominal, Low, Unknown)
[ ] Date of Last Battery Replacement (if applicable)
[ ] Notes on Emergency Lighting Fixture 1
[ ] Emergency Lighting Fixture 2 Functionality (Functioning Correctly, Flickering, Not Functioning, Low Intensity)

--- EXIT ROUTES & SIGNAGE ---
[ ] Are exit routes clear of obstructions? (Yes, No, Partially)
[ ] Condition of Exit Route Lighting (Adequate, Dim, Malfunctioning, Not Present)
[ ] Number of obstructed exit routes identified
[ ] Are Exit Signs Illuminated and Visible? (Yes, No, Some are not)
[ ] Which exit routes require signage improvements? (North Exit, South Exit, East Exit, West Exit, None)
[ ] Details of any observed deficiencies in exit route signage or lighting
[ ] Are emergency exit doors easily opened from the inside? (Yes, No, Not Tested)

--- FIRE DOORS & SHUTTERS ---
[ ] Door/Shutter Condition - General (Excellent, Good, Fair, Poor, N/A)
[ ] Self-Closing Function (Functions Correctly, Requires Adjustment, Not Functioning, N/A - Not Applicable)
[ ] Door/Shutter Labeling (Correctly Labeled, Labeling Missing/Obscured, N/A - No Label Required)
[ ] Clearance Gap (Top & Bottom) - (inches)
[ ] Additional Notes/Observations
[ ] Door/Shutter Free from Obstruction? (Yes, No)

--- FIRE HYDRANTS & WATER SUPPLY ---
[ ] Hydrant Number (if multiple)
[ ] Hydrant Location (GPS coordinates)
[ ] Water Pressure (PSI)
[ ] Flow Rate (GPM)
[ ] Hydrant Condition (Good, Fair, Poor, Needs Repair)
[ ] Comments/Observations
[ ] Last Water System Flush Date
[ ] Hydrant Accessibility (Clear and Accessible, Partially Obstructed, Obstructed - Needs Clearing)

--- SMOKE AND HEAT DETECTORS (STANDALONE) ---
[ ] Detector Functionality Check - Smoke (Functional - Audible Alarm, Functional - Visual Indicator, Defective - No Response, Defective - False Alarm)
[ ] Detector Functionality Check - Heat (Functional - Audible Alarm, Functional - Visual Indicator, Defective - No Response, Defective - False Alarm)
[ ] Detector Temperature Reading (°C)
[ ] Notes on Detector Performance/Observations
[ ] Detector Location Verification (Correct Location, Incorrect Location - Relocated, Incorrect Location - Needs Adjustment)
[ ] Last Maintenance Date

--- END OF TEMPLATE ---
Transform this text into a digital, automated, and trackable mobile app!
Visit: https://checklistguro.com/templates/logistics/warehouse-fire-safety-equipment-inspection
(Click "Install Template" to launch your digital inspection tool immediately)