## 6a410e7d8d045fc590b65d9d
Label	Description

Created by checklistguro.com

Start (START)	Start of the Workflow/Process
1. Schedule Inspection Task (TASK_CREATE)	Create the initial inspection task based on service type and location.
2. Retrieve Site Details (ENTRY_GET)	Fetch specific site data (e.g., system type, last inspection date) for context.
3. Fetch Water Sample Reading Data (ENTRY_GET)	Retrieve historical or prerequisite water quality test results.
4. Record Daily Test Results (ENTRY_CREATE)	Allow inspector to input real-time readings (pH, Turbidity, etc.).
5. Update Equipment Status (ENTRY_UPDATE)	Mark components (pumps, valves, filters) as operational or needing repair.
6. Assign Follow-up Action Items (TASK_CREATE)	Generate necessary follow-up tasks for maintenance or corrective actions.
7. Calculate Non-Conformance Score (CALCULATION)	Execute a formula to determine overall site compliance based on multiple failing readings.
8. Generate Inspection Summary Report (REPORT_CREATE)	Compile all recorded data (tasks, results, notes) into a comprehensive, downloadable report.
9. Notify Stakeholders of Completion (EMAIL)	Send automated email summary report to manager and client upon workflow completion.
10. Alert Out-of-Specification Readings (SMS)	Send immediate SMS alert for critical readings (e.g., pH outside safe range).
End (END)	End of the Workflow/Process