WATER QUALITY INSPECTION WORKFLOW: DIGITAL MANAGEMENT FOR UTILITIES & COMPLIANCE

Created by ChecklistGuro (https://checklistguro.com)

[ ] Schedule Inspection Task: Create the initial inspection task based on service type and location.
[ ] Retrieve Site Details: Fetch specific site data (e.g., system type, last inspection date) for context.
[ ] Fetch Water Sample Reading Data: Retrieve historical or prerequisite water quality test results.
[ ] Record Daily Test Results: Allow inspector to input real-time readings (pH, Turbidity, etc.).
[ ] Update Equipment Status: Mark components (pumps, valves, filters) as operational or needing repair.
[ ] Assign Follow-up Action Items: Generate necessary follow-up tasks for maintenance or corrective actions.
[ ] Calculate Non-Conformance Score: Execute a formula to determine overall site compliance based on multiple failing readings.
[ ] Generate Inspection Summary Report: Compile all recorded data (tasks, results, notes) into a comprehensive, downloadable report.
[ ] Notify Stakeholders of Completion: Send automated email summary report to manager and client upon workflow completion.
[ ] Alert Out-of-Specification Readings: Send immediate SMS alert for critical readings (e.g., pH outside safe range).

--- END OF TEMPLATE ---
Transform this text into a digital, automated, and trackable mobile app!
Visit: https://checklistguro.com/workflow-templates/inspection-management/water-quality-inspection-workflow-digital-management-for-utilities-compliance
(Click "Install Template" to launch your digital inspection tool immediately)