WELDING FUME EXTRACTION SYSTEM CHECKLIST

Created by ChecklistGuro (https://checklistguro.com)

--- SYSTEM OVERVIEW & LOCATION ---

[ ] System Location (Primary Welding Area)

[ ] System Identification Number/Tag

[ ] Manufacturer

[ ] Model Number

[ ] Date of Last Major Service

[ ] Date of System Installation

[ ] Current System Operational Status (0=Offline, 1=Online)

[ ] Brief Description of System Configuration & Purpose

--- LOCAL EXHAUST VENTILATION (LEV) HOODS & CAPTURE ---

[ ] Hood Location(s) Inspected

[ ] Hood Condition - General (Excellent, Good, Fair, Poor, N/A)

[ ] Estimated Distance from Hood to Welding Process (inches)

[ ] Hood Material Condition (No Damage, Minor Damage, Significant Damage, Corrosion Present)

[ ] Hood Obstructions? (None, Welding Curtains, Equipment, Debris, Other (specify in LONG_TEXT))

[ ] If 'Other' selected above, please specify

[ ] Airflow Appearance - Adequate Capture? (Yes, No, Uncertain)

[ ] Describe any observed capture deficiencies (if 'No' or 'Uncertain' selected above)

--- DUCTWORK & CONNECTIONS ---

[ ] Ductwork Segment Identification - Start Point

[ ] Ductwork Segment Identification - End Point

[ ] Visual Inspection - Ductwork Condition (Excellent - No visible damage, Good - Minor surface corrosion, Fair - Moderate corrosion/damage, Poor - Significant damage/leakage)

[ ] Ductwork Temperature (Celsius)

[ ] Connection Type (e.g., Flanged, Clamped) (Flanged, Clamped, Welded, Other)

[ ] Connection Leakage Assessment (No Leakage, Minor Leakage, Moderate Leakage, Significant Leakage)

[ ] Detailed Observations / Notes regarding Ductwork and Connections

[ ] Photographic Evidence of Ductwork/Connections (if necessary)

--- FILTER SYSTEM ---

[ ] Initial Filter Pressure Drop (in H2O)

[ ] Current Filter Pressure Drop (in H2O)

[ ] Filter Media Type (HEPA, Pleated, Cartridge, Other (Specify))

[ ] Comments on Filter Condition (Appearance, Damage, etc.)

[ ] Last Filter Replacement Date

[ ] Estimated Remaining Filter Life (in hours/days)

[ ] Filter Inspection Findings (Clean, Slightly Soiled, Moderately Soiled, Heavily Soiled, Damage Present, No Visible Issues)

[ ] Filter System Photos (Optional)

--- FAN & MOTOR ---

[ ] Fan RPM (Revolutions Per Minute)

[ ] Motor Amperage (Current Draw)

[ ] Fan Static Pressure (in H2O)

[ ] Motor Lubrication Status (Lubricated as per schedule, Lubrication needed, Not Applicable - Sealed Motor)

[ ] Motor Sound Level (Normal, Slightly elevated, Excessive - Investigate)

[ ] Notes on Motor and Fan Condition

[ ] Last Lubrication Date (if applicable)

--- EXHAUST DISCHARGE & AIRFLOW ---

[ ] Exact Location of Exhaust Discharge Point

[ ] Airflow Velocity (m/s or ft/min) at Discharge

[ ] Static Pressure at Fan Inlet (Pa or in.wg)

[ ] Discharge Location Complies with Regulations? (Yes, No, N/A - Local Regulation Not Applicable)

[ ] Observations regarding potential re-entrainment or nearby sensitive areas

[ ] Is exhaust directed away from building intakes? (Yes, No, N/A - No Building Intakes Nearby)

[ ] Differential Pressure Across Filter (Pa or in.wg)

--- SYSTEM MONITORING & ALARMS ---

[ ] Airflow Reading (CFM/m³/min)

[ ] Static Pressure Reading (in. w.g / Pa)

[ ] Alarm Status - Filter Pressure (Normal, Warning, Alarm)

[ ] Alarm Status - Airflow (Normal, Warning, Alarm)

[ ] Last Alarm Reset Date

[ ] Alarm History - Summary of Recent Events (last 30 days)

[ ] Current System Operating Mode (Automatic, Manual, Standby)

[ ] Time of Last System Interruption

--- MAINTENANCE RECORDS & DOCUMENTATION ---

[ ] Last Filter Replacement Date

[ ] Filter Replacement Pressure Drop (inches of water)

[ ] Description of any maintenance performed since last inspection

[ ] Date of Last System Performance Test

[ ] Airflow Measurement (CFM) at Exhaust

[ ] Filter Type (HEPA, Pleated, Baghouse, Other)

[ ] Upload any relevant maintenance reports

[ ] Notes/Comments on maintenance performed and system condition

[ ] System Operational Training for Personnel Complete? (Yes, No, N/A)

--- SAFETY & EMERGENCY PROCEDURES ---

[ ] Date of Last Emergency Drill Related to Fume Extraction Failure

[ ] Describe the procedure to follow if the fume extraction system fails during welding operations.

[ ] Is there a documented procedure for isolating welding operations during system maintenance? (Yes, No, N/A)

[ ] Which personnel are trained on emergency shutdown procedures? (Welding Technicians, Facility Management Staff, Safety Officer, Maintenance Personnel, Other (Specify in Long Text))

[ ] Date of last review of emergency procedures.

[ ] Describe the communication protocol used to notify personnel of a system failure.

[ ] Are emergency contact numbers readily available near welding stations? (Yes, No, N/A)

[ ] Estimated time required to restore system after failure (typically).

--- END OF TEMPLATE ---

Transform this text into a digital, automated, and trackable mobile app!

Visit: https://checklistguro.com/templates/facility-management/welding-fume-extraction-system-checklist

(Click "Install Template" to launch your digital inspection tool immediately)