WINDOW & DOOR INSTALLATION ALIGNMENT CHECKLIST

Created by ChecklistGuro (https://checklistguro.com)

--- PRE-INSTALLATION VERIFICATION ---
[ ] Window/Door ID or SKU
[ ] Project Name/Address
[ ] Review of Shop Drawings/Specifications - Note any discrepancies?
[ ] Existing Wall Condition (observed) (Good, Fair, Poor - Requires Remediation, Unknown)
[ ] Rough Opening Width (measured)
[ ] Rough Opening Height (measured)
[ ] Rough Opening Depth (measured)
[ ] Additional Notes/Observations (e.g., obstructions, insulation)

--- FRAME SQUARENESS & LEVEL ---
[ ] Diagonal Measurement (Side 1)
[ ] Diagonal Measurement (Side 2)
[ ] Level Difference (Top)
[ ] Level Difference (Bottom)
[ ] Opening Squareness (Within Tolerance (+/- 1/8 inch), Outside Tolerance - Correction Required)
[ ] Opening Levelness (Within Tolerance (+/- 1/8 inch), Outside Tolerance - Correction Required)
[ ] Notes on Frame Squareness & Level (if corrections needed)

--- WINDOW/DOOR PLACEMENT & INITIAL ALIGNMENT ---
[ ] Rough Opening Width (measured)
[ ] Rough Opening Height (measured)
[ ] Window/Door Width (measured)
[ ] Window/Door Height (measured)
[ ] Window/Door Placement (Centered/Offset) (Centered, Offset - Specify Location (Long Text))
[ ] Offset Location Details (if applicable)
[ ] Initial Shim Usage (Yes/No) (Yes, No)
[ ] Shim Placement Notes (if applicable)

--- VERTICAL ALIGNMENT ---
[ ] Distance from plumb (side 1) (in inches)
[ ] Distance from plumb (side 2) (in inches)
[ ] Total vertical adjustment needed (in inches)
[ ] Shimming Required? (Yes, No)
[ ] Notes on vertical alignment adjustments (e.g., shimming locations, reasons for adjustments)
[ ] Check for Reveal (if applicable) (Yes, No, Not Applicable)
[ ] Reveal Distance (if applicable) (in inches)

--- HORIZONTAL ALIGNMENT ---
[ ] Horizontal Variation (at top)
[ ] Horizontal Variation (at bottom)
[ ] Overall Horizontal Deviation (max allowed)
[ ] Alignment Method Used (Level, String Line, Laser Level)
[ ] Notes on Horizontal Adjustment
[ ] Is horizontal alignment within tolerance? (Yes, No)

--- OPERATING FUNCTIONALITY (IF APPLICABLE) ---
[ ] Window/Door Operation: Smooth? (Yes, No, Somewhat)
[ ] Clearance (Gap) Around Frame (mm)
[ ] Locking Mechanism Functionality (Functions Properly, Stiff/Difficult to Operate, Malfunctioning)
[ ] Notes on Operation/Adjustment Required
[ ] Weather Stripping Seal (Initial) (Good, Fair, Poor)

--- FINAL INSPECTION & SIGN-OFF ---
[ ] Temperature During Inspection (Fahrenheit)
[ ] Overall Alignment Satisfaction (Installer) (Excellent, Good, Fair, Poor)
[ ] Operation Smoothness (Installer) (Excellent, Good, Fair, Poor)
[ ] Installer Comments / Notes
[ ] Client Comments / Concerns
[ ] Installer Signature
[ ] Client Signature (Acceptance)
[ ] Date of Inspection

--- END OF TEMPLATE ---
Transform this text into a digital, automated, and trackable mobile app!
Visit: https://checklistguro.com/templates/construction/window-door-installation-alignment-checklist
(Click "Install Template" to launch your digital inspection tool immediately)